## Sheet1
Main Equipment
Cabinet
2116039 | H90B1N66E | 2.2m Front-access Assembly Cabinet(AC),Sheet-metal 600*600
Frame
02351LXR | H90Z5BPMB | IEC Service Shelf, 6 fan
Board
Main Control Board Module
03033GFN | H903MPLAE | Main Processing Board MPLAE
GPIO Board Module
03025KFC | H902CIUA | Combo Interface Transfer Board
PON Access Board Module
02312SQN | H902GPHFE01 | 16-port GPON OLT Interface Board,With Type B Single/Dual homing Function(including Class B+ SFP Optical Module)
02312SQP | H902GPHFE02 | 16-port GPON OLT Interface Board,With Type B Single/Dual homing Function(including Class C+ SFP Optical Module)
02312SQQ | H902GPHFE03 | 16-port GPON OLT Interface Board,With Type B Single/Dual homing Function(including Class C++ SFP Optical Module)
10G PON Board Module
03050ASV | H903XSHDE01 | 8-port Advanced XGS-PON OLT Interface Board(including N1 SFP+Optical Module)
03050ASW | H903XSHDE02 | 8-port Advanced XGS-PON OLT Interface Board(including N2 SFP+Optical Module)
02312SQU | H902XSHFE01 | 16-port XGS-PON OLT Interface Board(including N1 SFP+ Optical Module)
02312SQV | H902XSHFE02 | 16-port XGS-PON OLT Interface Board(including N2 SFP+ Optical Module)
Flex PON Board Module
03033DYH | H902FLHFE | 16-port Advanced Flex-PON2.0 OLT Interface Board
02312TDT | H902FLHFE01 | 16-port Advanced Flex-PON2.0 OLT Interface Board(Including Class B+ SFP Optical Module)
02312TDX | H902FLHFE02 | 16-port Advanced Flex-PON2.0 OLT Interface Board(Including Class C+ SFP Optical Module)
02312TDY | H902FLHFE03 | 16-port Advanced Flex-PON2.0 OLT Interface Board(Including Class C++ SFP Optical Module)
Multifunctional Convergence & Other Access Board Module
03025KFB | H902NXED01 | 8-port Enhanced 10GE Uplink Interface Board
03033DPC | H902OXHD | 8-port Advanced 10GE Optical Interface Board
03026VLJ | H902OXEG | 24 port Aggregationed 10GE/GE Optical Interface Board
03033SJS | H902NCEB01 | 2-port Enhanced 100GE Uplink Interface Board
SFP
Optical Module
GE Single Channel Two-fiber Bidirectional Optical Module
34060473 | eSFP-1310nm-1000Base-Lx SM | Optical transceiver,eSFP,1310nm,1.25Gb/s,-9~-3dBm,-20dBm,LC,Single Mode,10km
34060513 | OGSME4000 | Optical Transceiver,eSFP,1550nm,1.25Gb/s,-5dBm,0dBm,-22dBm,LC,SM,40km
34060360 | eSFP-1550nm-1000Base-Zx/FC100 | Optical Transceiver,eSFP,1550nm,1.25Gb/s,-2~5dBm,-23dBm,LC,SM,80km
34060286 | eSFP-850nm-1000Base-Sx/FC200 MM | Optical Transceiver,eSFP,850nm,2.125Gb/s(Multi rate) ,-9.5~-2.5dBm,-17dBm,LC,MM,0.5km
S4016954 | OSG040002 | Optical Transceiver(eSFP,1310nm,1.25Gb/s,-5~0dBm,-23dBm,LC,SM,40km)
GE Single Channel One-fiber Bidirectional Optical Module
34060470 | SFP-GE-LX-SM1310-BIDI | BiDi Transceiver,eSFP,Tx1310nm/Rx1490nm,1.25Gb/s,-9dBm,-3dBm,-19.5dBm,LC,SM,10km
34060475 | SFP-GE-LX-SM1490-BIDI | BiDi Transceiver,eSFP,Tx1490nm/Rx1310nm,1.25Gb/s,-9dBm,-3dBm,-19.5dBm,LC,SM,10km
34060539 | OGEBIDI41 | Optical Transceiver,eSFP,1310nm(Tx)/1490nm(Rx),1.25Gb/s,-2dBm,3dBm,-23dBm,LC,SM,40km
34060540 | OGEBIDI40 | Optical Transceiver,eSFP,1490nm(Tx)/1310nm(Rx),1.25Gb/s,-2dBm,3dBm,-23dBm,LC,SM,40km
GE Double Channels One-fiber Bidirectional Optical Module
34060803 | OSG010005 | Integrated Optical Transmitting and Receiving Module,CSFP,Transmitting:1490nm,Receiving:1310nm,1.25Gb/s,-9.0dBm,-3.0dBm,-24dBm,LC,GE/FE autonegotiation
34060805 | OSG010006 | BiDi Transceiver,CSFP,Tx1490/Rx1310nm,125M~1.25Gbps,-9dBm,-3dBm,-23dBm,LC,SM,10km
GE Electric Module
S4015819 | SFP-1000BaseT | 1000BASE-T (RJ45) SFP Electrical Module,Auto Negotiate,100m
10GE Optical Module(SFP+)
34060494 | OMXD30001 | Optical transceiver,SFP+,850nm,10Gb/s,-7.3~-1dBm,-9.9dBm,LC, MM,0.3km
34060495 | OSX001001 | Optical transceiver,SFP+,1310nm,10Gb/s,-8.2~0.5dBm,-12.6dBm,LC,SM,10km
34060518 | OSX040N00 | Optical transceiver,SFP+,1550nm,9.95~11.1Gb/s,-4.7~4dBm,-14.1dBm,LC,SM,40km
34060672 | OSX080N00 | Optical Transceiver,SFP+,1550,9.953~10.3125Gb/s,0dBm,4dBm,-24dBm,LC,SMF,80km
10GE One-fiber Bidirectional Optical Module
34060544-004 | OSX010I01 | BiDi Transceiver-SFP+-1270nm(Tx)/1330nm(Rx)-2.5~11.3Gb/s--8.2dBm-0.5dBm--14.4dBm-LC-SM-10km--40~85degc
34060546-004 | OSX010I02 | BiDi Transceiver-SFP+-1330nm(Tx)/1270nm(Rx)-2.5~11.3Gb/s--8.2dBm-0.5dBm--14.4dBm-LC-SM-10km--40~85degc
34060918 | OSX040B03 | BiDi Transceiver,SFP+,TX 1270nm/RX 1330nm,9.95~10.3Gb/s,0dBm,5dBm,-18dBm,LC,SM,40km
34060917 | OSX040B02 | BiDi Transceiver,SFP+,TX 1330nm/RX 1270nm,9.95~10.3Gb/s,0dBm,5dBm,-18dBm,LC,SM,40km
100GE Optical Module(QSFP)
34061089 | OMN0D1N01 | High Speed Transceiver,QSFP28,850nm,100G,-8.4dBm,2.4dBm,-10.3dBm,MPO,MM,0.1km,OM4
34061299 | OSN002N01 | High Speed Transceiver,QSFP28,1310nm,100G,-6.5dBm,2.5dBm,-10dBm,LC,SMF,2km,CWDM4
34061960 | QSFP28-100G-1295~1310nm-40km-SM-02 | High Speed Transceiver,QSFP28,1310nm,100G,-2.9dBm,2.9dBm,-20.9dBm,LC,40km
FE Single Channel One-fiber Bidirectional Optical Module
34060364 | SFP-FE-LX-SM1550-BIDI | BiDi transceiver,eSFP,Tx1550nm/Rx1310nm,155M,-15dBm,-8dBm,-32dBm,LC/PC,SM,15km
10G GPON Optical Module
34061699 | XG-PON&GPON-OLT-B+ | PON Transceiver,SFP+,1577nm(TX1)/1490nm(TX2)/1270nm(RX1)/1310nm(RX2),9.953G(TX1)/2.488G(TX2)/2.488G(RX1)/1.244G(RX2),1dBm/1.5dBm,6dBm/5dBm,-26.5dBm/-28dBm,SC/UPC Compatible with SC/PC,SM,XG-PON&GPON OLT B+
34061718 | OSGXGSB+01 | PON Transceiver,SFP+,1577nm(TX1)/1490nm(TX2)/1270nm(RX1)/1310nm(RX2),9.953G(TX1)/2.488G(TX2)/9.953G(RX1)/2.488G(RX2)/1.244G(RX3),1dBm/1.5dBm,4dBm/5dBm,-25dBm/-26.5dBm/-28dBm,SC/UPC Compatible with SC/PC,SM,XGS-PON&GPON OLT B+
34061720 | OSGXGSC+01 | PON Transceiver,SFP+,1577nm(TX1)/1490nm(TX2)/1270nm(RX1)/1310nm(RX2),9.953G(TX1)/2.488G(TX2)/9.953G(RX1)/2.488G(RX2)/1.244G(RX3),5dBm/3dBm,8dBm/7dBm,-29dBm/-30.5dBm/-32dBm,SC/UPC Compatible with SC/PC,SM,XGS-PON&GPON OLT C+
34061719 | OSGXGC+01 | PON Transceiver,SFP+,1577nm(TX1)/1490nm(TX2)/1270nm(RX1)/1310nm(RX2),9.953G(TX1)/2.488G(TX2)/2.488G(RX1)/1.244G(RX2),5dBm/3dBm,8dBm/7dBm,-30.5dBm/-32dBm,SC/UPC Compatible with SC/PC,SM,XG-PON&GPON OLT C+
34062018 | OSGXGD01 | PON Transceiver,SFP+,1577nm(TX1)/1490nm(TX2)/1270nm(RX1)/1310nm(RX2),9.953G(TX1)/2.488G(TX2)/2.488G(RX1)/1.244G(RX2),8dBm/6dBm,12dBm/10dBm,-33.5dBm/-35dBm,SC/UPC Compatible with SC/PC,SM,XG-PON&GPON OLT D
34061988 | OSGXGSD01 | PON Transceiver,SFP+,1577nm(TX1)/1490nm(TX2)/1270nm(RX1)/1310nm(RX2),9.953G(TX1)/2.488G(TX2)/9.953G(RX1)/2.488G(RX2)/1.244G(RX3),8dBm/6dBm,11dBm/10dBm,-32dBm/-33.5dBm/-35dBm,SC/UPC Compatible with SC/PC,SM,XGS-PON&GPON OLT D
10GE Color Optical Transceiver Module
34060686 | OSX070001 | Optical Transceiver-SFP+-1511nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
34060687 | OSX070002 | Optical Transceiver-SFP+-1471nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
34060688 | OSX070003 | Optical Transceiver-SFP+-1491nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
34060689 | OSX070004 | Optical Transceiver-SFP+-1531nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
34060690 | OSX070005 | Optical Transceiver-SFP+-1551nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
34060691 | OSX070006 | Optical Transceiver-SFP+-1571nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
34060692 | OSX070007 | Optical Transceiver-SFP+-1591nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
34060693 | OSX070008 | Optical Transceiver-SFP+-1611nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
Power Equipment
03025KET | H902PILA | Connect Power Board
Battery
24023006 | LPL12-1001906 | Rechargeable Battery, VRLA Battery, 48V, 100Ah, 12V Monobloc,330mm(W)*173mm(D)*220mm(H), 4 PCS,Leoch LPL12-100
ETP4890-A2 PS Function Module(Indoor)
33010296 | EBTSensor | Temperature Sensor,12V~24VDC,+/-0.5degC
ETP48200 PS Function Module(Indoor)
1075111 | ETP48200-B2A1-5111 | Embedded Power, ETP48200, 220/380Vac Three-Phase or 220Vac Single-Phase or 110Vac Dual-Live Wire or 380Vdc HVDC, 200A, Front Cabling, Width 19inch, Height 2U
02312QJD | SMU11C-01 | Stick power monitor module
02312QJQ | R4830G1-0201 | R4830G1-02 2000W High Efficiency Rectifier
21140631 | EN3KSPANEL04 | High Efficiency Rectifier panel
lightningproof box
19020093 | W00LMAV08 | Lightning Arrester,20kA/MAX40kA,1600V,154~286VAC,single phase three line in
4150828 | CPWR00628 | Power Cable,10m,6mm^2,Black,2*T6^2B,BVV6^2(2C)B,2*OT6-6,AC Power Cable of Lightning Arrestor to ETP4890
Installation Material
Fiber Suite,MA5800,External Fiber Cable Suite
External Optical Fiber Set(FC-LC)
14130197 | SS-OP-LC-FC-S-10 | Patch cord-FC/PC-LC/PC-Single mode-G.652D-2mm-10m-PVC-Yellow
14130293 | SS-OP-LC-FC-S-15 | Patch cord-FC/PC-LC/PC-Single mode-G.652-2mm-15m-PVC-Yellow
14130274 | SS-OP-LC-FC-S-20 | Patch cord-FC/PC-LC/PC-Single mode-G.652D-2mm-20m-PVC-Yellow
14130359 | SS-OP-LC-FC-S-25 | Patch cord-FC/PC-LC/PC-Single mode-G.652-2mm-25m-PVC-Yellow
14130278 | F000OPS01 | Patch cord-FC/PC-LC/PC-Single mode-G.652D-2mm-30m-PVC-Yellow
14130291 | SS-OP-LC-FC-S-50 | Patch cord-FC/PC-LC/PC-Single mode-G.652-2mm-50m-PVC-Yellow
14130221 | SS-OP-LC-FC-M-10 | Patch cord-FC/PC-LC/PC-Multimode-A1b-2mm-10m-PVC-Orange
14130273 | SS-OP-LC-FC-M-20 | Patch cord-FC/PC-LC/PC-Multimode-A1b-2mm-20m-PVC-Orange
14130277 | SS-OP-LC-FC-M-30 | Patch cord-FC/PC-LC/PC-Multimode-A1b-2mm-30m-PVC-Orange
14130525 | LC-FC-S-10,LSZH | Patch Cord,LC/UPC,FC/UPC,Single-mode,10m,G.657A2,2mm,LSZH
14130599 | LC-FC-S-20,LSZH | Patch Cord,LC/UPC,FC/UPC,Single-mode,20m,G.657A2,2mm,LSZH
External Optical Fiber Set(FC-SC)
14130187 | SS-OP-FC-SC-S-5 | Patch cord-FC/PC-SC/PC-Single mode-G.652D-3mm-5m-PVC-Yellow
14130253 | SS-OP-FC-SC-S-10 | Patch cord-FC/PC-SC/PC-Single mode-G.652-3mm-10m-PVC-Yellow
14130110 | SS-OP-FC-SC-S-15 | Patch cord-FC/PC-SC/PC-Single mode-G.652D-3mm-15m-PVC-Yellow
14130111 | SS-OP-FC-SC-S-20 | Patch cord-FC/PC-SC/PC-Single mode-G.652D-3mm-20m-PVC-Yellow
14130112 | SS-OP-FC-SC-S-25 | Patch cord-FC/PC-SC/PC-Single mode-G.652D-3mm-25m-PVC-Yellow
14130113 | SS-OP-FC-SC-S-30 | Patch cord-FC/PC-SC/PC-Single mode-G.652D-3mm-30m-PVC-Yellow
External Optical Fiber Set(LC-LC)
14130199 | SS-OP-D-LC-S-10 | Patch cord-LC/PC-LC/PC-Single mode-G.652D-2mm-10m-PVC-Yellow
14130541 | SS-OP-LC-LC-S-15 | Patch cord-LC/PC-LC/PC-Single mode-G.652D-2mm-15m-PVC-Yellow
14130251 | SS-OP-D-LC-S-20 | Patch cord-LC/PC-LC/PC-Single mode-G.652-2mm-20m-PVC-Yellow
14130598 | LC-LC-S-20,LSZH | Patch Cord,LC/UPC,LC/UPC,Single-mode,20m,G.657A2,2mm,LSZH
14130282 | SS-OP-D-LC-S-30 | Patch cord-LC/PC-LC/PC-Single mode-G.652-2mm-30m-PVC-Yellow
14130222 | SS-OP-D-LC-M-10 | Patch cord-LC/PC-LC/PC-Multimode-A1b-2mm-10m-PVC-Orange
14130295 | SS-OP-D-LC-M-20 | Patch cord-LC/PC-LC/PC-Multimode-A1b-2mm-20m-PVC-Orange
14130294 | SS-OP-D-LC-M-30 | Patch cord-LC/PC-LC/PC-Multimode-A1b-2mm-30m-PVC-Orange
External Optical Fiber Set(LC-SC)
14130287 | SS-OP-LC-SC-S-2.7 | Patch cord-LC/PC-SC/PC-Single mode-G.652-2mm-2.7m-PVC-Yellow
14130196 | SS-OP-LC-SC-S-10 | Patch cord-LC/PC-SC/PC-Single mode-G.652-2mm-10m-PVC-Yellow
14130281 | SS-OP-LC-SC-S-15 | Patch cord-LC/PC-SC/PC-Single mode-G.652-2mm-15m-PVC-Yellow
14130280 | SS-OP-LC-SC-S-20 | Patch cord-LC/PC-SC/PC-Single mode-G.652-2mm-20m-PVC-Yellow
14130544 | SS-OP-LC-SC-S-25 | Patch cord-LC/PC-SC/PC-Single mode-G.652D-2mm-25m-PVC-Yellow
14130276 | SS-OP-LC-SC-S-30 | Patch cord-LC/PC-SC/PC-Single mode-G.652D-2mm-30m-PVC-Yellow
14130312 | SS-OP-LC-SC-S-50 | Patch cord-LC/PC-SC/PC-Single mode-G.652-2mm-50m-PVC-Yellow
14130223 | SS-OP-LC-SC-M-10 | Patch cord-LC/PC-SC/PC-Multimode-A1b-2mm-10m-PVC-Orange
14130279 | SS-OP-LC-SC-M-20 | Patch cord-LC/PC-SC/PC-Multimode-A1b-2mm-20m-PVC-Orange
14130600 | LC-SC-S-20,LSZH | Patch Cord,LC/UPC,SC/UPC,Single-mode,20m,G.657A2,2mm,LSZH
External Optical Fiber Set(SC-SC)
14130230 | SS-OP-D-SC-S-10 | Patch cord-SC/PC-SC/PC-Single mode-G.652-3mm-10m-PVC-Yellow
14130126 | SS-OP-D-SC-S-15 | Patch cord-SC/PC-SC/PC-Single mode-G.652D-3mm-15m-PVC-Yellow
14130147 | SS-OP-D-SC-S-20 | Patch cord-SC/PC-SC/PC-Single mode-G.652D-3mm-20m-PVC-Yellow
External Optical Fiber Set(MPO-MPO)
14134486 | MPO12-MPO12-M4-10 | Optical Cable Parts,MPO/PC,MPO/PC,Multi-mode,10m,8 cores,GJFH-8A1a.3(OM4),3.5mm,0mm,LSZH,Bending Insensitive
External Optical Fiber Set(short jacket)
14130695 | SS-OP-LC/LC-S-30 | Patch Cord,LC/UPC,LC/APC,Single-mode,30m,G.657B3,1.6mm,LSZH
14130696 | SS-OP-LC/FC-S-30 | Patch Cord,LC/UPC,FC/UPC,Single-mode,30m,G.657B3,1.6mm,LSZH
External Optical Fiber Set(other)
14130249 | F00OPAD01 | Adapter,2LC/PC-2LC/PC,4,Blue,Shell:Plastic,Sleeve:Zirconia,Square
14130134 | QW1P0FIBER04 | Optical Adapter,SC/UPC,SC/UPC,Blue,Shell:Plastic,Sleeve:Zirconia,Square
45010091 | OOC220S01 | Optical Coupler,Single Mode,2*2,1310&1550,+/-40nm,50/50,LC/PC,3mm,1.5m,SMF-28 250um with 3mm cable, &lt; 0.1dB,90*16*9mm
14130284 | SS-OP-LC-FC-S-2.7 | Patch cord-FC/PC-LC/PC-Single mode-G.652-2mm-2.7m-PVC-Yellow
14130198 | SS-OP-LC-FC-S-5 | Patch cord-FC/PC-LC/PC-Single mode-G.652D-2mm-5m-PVC-Yellow
Optical Fiber Fixed Attenuator
45030005 | SS-OP-HRL-ATN-FC-7 | Optical Fixed Attenuator,1310nm/1550nm,7dB,FC/PC,40dB
45030025 | SS-OP-ATN-SC-10 | Fixed Optical Attenuator,1310/1550+/-20nm,10dB,SC/PC,40dB
External Cable Suite,MA5800,External Power Cable
4152102 | C0DF10M02 | Power Cable,10m,16mm^2,T16^2G,H07Z-K-16^2B+H07Z-K-16^2BL,OT16-6,LSZH
04152102-001 | C0DF05M02 | Power Cable,5m,16mm^2,T16^2G,H07Z-K-16^2B+H07Z-K-16^2BL,OT16-6,LSZH
04152102-002 | C0DF15M02 | Power Cable,15m,16mm^2,T16^2G,H07Z-K-16^2B+H07Z-K-16^2BL,OT16-6,LSZH
04152102-003 | C0DF20M02 | Power Cable,20m,16mm^2,T16^2G,H07Z-K-16^2B+H07Z-K-16^2BL,OT16-6,LSZH
4150047 | CPOWCAB02 | Power Cable,0.85m,16mm^2,Yellow&Green,OT16-6,H07Z-K-16^2Y&G,OT16-6,LSZH
25030101 | C1025BL00 | Power Cable,450V/750V,60227 IEC 02(RV),25mm^2,Blue,112A,CCC,CE (Unit:meter)
25030432 | C1025BK00 | Power Cable,450V/750V,60227 IEC 02(RV),25mm^2,Black,112A,CCC,CE (Unit:meter)
25030431 | C1025YG00 | Power Cable,450V/750V,60227 IEC 02(RV),25mm^2,Yellow/Green,112A,CCC,CE (Unit:meter)
Blank Panel
21138384 | H80XBPMPLB02 | Air Deflector Panel for Main Control Board Slot (Shielded)
21138385 | H80XBP0YWB01 | Air Deflector Panel for Service Board Slot (Shielded)
21138396 | H80XBPGPIO01 | Blank Panel for GPIO Slot (Shielded)
02311UJE | H90M1ADP16SC | Air Deflector Panel with 16 SC Adapters for Service Board Slot
Rack Mounting & Other Auxiliary Materials
21123221 | TNGEPLIER01 | Die-casting Plier
02231RXG | H80MA580001 | Engineering Required Delivery Accessory Per Assembly Cabinet
21150574 | EN6XCFM01 | N66 Cabinet Installation Drawing Template(Cement Floor)
21150584 | EN6XCFM00 | N6X Cement Floor Mount Kit
21241721 | H90Z01D21 | MA5800-X7 ETSI Mounting ear
21041127 | H80B000DFK02 | Cabling Channel
63240128 | H80DKBA8001 | Cabling Rack
Documentation
Document Accessory
31189820 | H90IR18DOC02E | SmartAX EA5800 Multi-service Access Module Product Documentation
31189954 | H90IR18DOC12E | SmartAX EA5800 Multi-service Access Module Product Documentation
31180AUQ | H90IR19DOC23 | Electronic Documentation
Software Charges (Software&License)
88032SXB | H80S0IPV6022 | IPV6 Function License , Based on per Host
88032SXA | H80S0MPLS02 | MPLS Function License, Based on per host
88034AMT | H80S0VANE01 | Per Virtual Access NE License, Based on per Slice
88034HBN | H80S0GRE01 | GRE Function License , Based on per Tunnel
88034HEA | H80S0VxLAN01 | VxLAN Resource License , Based on VNI Granularity
88034QFD | H80S0TYPEB02 | Type B Dual homing Function License, based on per host
88032TUD | H80S00L3FS02 | L3 Function License, based on per host
88032TUE | H80S000ONT09 | ONT Access License, Based on Per ONT
88036BDQ | H80SXGSRTU02 | XG(S) PON Port RTU, Based on per PON Port
88033LEM | H80S000ONT10 | 10G GPON ONT Access License, Based on Per ONT
88032TUF | H80S00GPON09 | GPON Port License,Based on per GPON Port
88032TUG | H80S010GPON12 | 10G PON Port License,Based on per 10G PON Port
88032TUH | H80S10GEAS02 | 10GE Port License,Based on per 10GE Port
88032TUJ | H80S00FEAS02 | GE Port License,Based on per GE Port
88034HFS | H90MPLAE | MPLAE System Software Package