## Sheet1
Main Equipment
Rack&Subrack
Rack
2116168 | TNGB1RACK15 | A63B ETSI Cabinet (2200*600*300mm, LSZH) without subrack (2*E9624)
2116170 | TMFB1RACK17 | A63B ETSI cabinet (2200*600*300mm, LSZH) without subrack (4*E9612)
2116172 | TMFB1RACK09 | A63B Type ETSI Rack (2200*600*600mm, LSZH) Without SubRack(E9624+2*E9612)
2116169 | TMFB1RACK11 | A63B ETSI cabinet (2200*600*300mm, LSZH) without subrack (5*E9612)
2116171 | TNGB1RACK16 | A66B Type ETSI Rack (2200*600*600mm, LSZH) Without SubRack(2*E9624)(Front-to-rear ventilation channel)
21012707 | TNVBFRACK05 | A-type fiber management cabinet (150mmx300mmx2200mm)
21243413 | SSTB0FRAME04 | Height Extension Frame(300mm Depth * 600mm Width * 400mm Height, black)
21243599 | SSTB0FRAME10 | Height extension frame(300mm Depth x 150mm Width x 400mm Height)-G150
Electrical Subrack
2301643 | TNGK1AFB06 | Assembly SubRack (OptiXtrans E9624)
E9612 Optical Layer Subrack
2301644 | TMFK1AFB04 | Assembly SubRack (OptiXtrans E9612)
E9605 Optical Layer Subrack
2301744 | TMEK1AFB05 | Assembly SubRack (OptiXtrans E9605)(DC)
2301745 | TMEK1AFB06 | Assembly SubRack (OptiXtrans E9605)(AC,C13 standard)
DCM CAGE
21040571 | SSC-DCM-CAGE-D | Double-DCM CAGE(ETSI Rack)
21040842 | SSC-DCM-CAGE-S | Single-DCM CAGE(19"Rack) For OptiX Metro 6100
Electrical Board
System Control and Centralized Cross Connect Unit
03033FTV | TNG3CXP01 | Universal Cross Connect,System Control and Clock Processing Board
03033GKA | TNG1SXCL03 | 80G VC3/VC12 Low Order Universal Cross-connect Board
System Control and Connect Unit License
88036CVN | TNGSOTNFUN01 | OTN Function Fee
88036CVS | TNGSOTNFUN02 | Packet Function Fee
82600508 | NSDS0XCSDH01 | OptiX OTN Platform SDH Function Fee
88036CVT | TNSSXC800G02 | Centralized Cross Connect Capacity Fee(0-800G)
88036CVU | TNSSXC1D6T02 | Centralized Cross Connect Capacity Fee(800G-1.6T)
88036CVW | TNGSXC2D4T03 | Centralized Cross Connect Capacity Fee(1.6T-2.4T)
88036CVX | TNGSXC2D4T04 | Centralized Cross Connect Capacity Expansion Fee(2.4T~4.8T)
Line and Tributary Board
The Assembly Of Line Service Processing Board
03033CHJ | TNU3N602T33 | 2*200G/400G Programable Line Service Processing Board (ULHA,SDFEC2@ 200G QPSK/400G 16QAM/etc.,Flex rate, Coherent, Tunable, Super C band,Flex grid) (2*100G Line Capacity Included, RTU Extension Supported)
3059079 | TNU3N602T33-R1 | 2*200G/400G Programable Line Service Processing Board (ULHA,SDFEC2@ 200G QPSK/400G 16QAM/etc.,Flex rate, Coherent, Tunable, Super C band,Flex grid) (2*200G Line Capacity Included, RTU Extension Supported)
03033DWV | TNU3N602S33 | 2*200G/400G high performance Programable Line Service Processing Board (SLH+,SDFEC2@ 200G e16QAM-H/400G 16QAM/etc.,Flex rate, Coherent, Tunable, Super C, Flex grid) (2*100G Line Capacity Included, RTU Extension Supported)
03033LYS | TNU9N502T33 | 2*200G Line Service Processing Board (ULHA,SDFEC2@ 200G QPSK, Coherent, Tunable, Super C band,Flex grid)
03050AJK | TNU9N502T33-R1 | 2*200G Line Service Processing Board (ULHA,SDFEC2@ 200G QPSK, Coherent, Tunable, Super C band,Flex grid)(2*200G Line Capacity Included)
PID Universal Line Service Processing Board Collection
03033HEV | TNS3NP800S01 | 1*400G PID Line Service Processing Board (Band1, extend to 800G, single-fiber bidirectional)
03033HEX | TNS3NP800SE01 | 1*400G PID Line Service Processing Extended Board(Band1, single-fiber bidirectional)
03033HEW | TNS3NP800S02 | 1*400G PID Line Service Processing Board (Band2, extend to 800G, single-fiber bidirectional)
03033HFA | TNS3NP800SE02 | 1*400G PID Line Service Processing Extended Board(Band2, single-fiber bidirectional)
Optical Board
Common Unit
03025VXX | TMF1SCC | System Control and communication board
03026EAS | TMF1AUX | System auxiliary Communication Board With Clock Processing Function
03026UQD | TME1CTU01 | System auxiliary Communication Board With Clock Processing Function
03033FMF | TNG3OPM801 | 8 channel flexible bandwidth optical power monitor board(Extended C-band)
03033FDN | TNG2VA201 | Double Channel Variable Optical Attenuator Board(Super C_band)
03033FMA | TNG2OLP04 | Optical line protection board(Non-latching,Single mode,Super C_band)
03033FMD | TNG2DCP01 | Dual optical channel protect board(Non-latching,Single mode,Super C_band channel and client channel)
03033FLY | TNG3ITL06 | Interleaver Board(Extended C_band,100/50GHz)
03033HFH | TNG3WMU01 | Wavelength Monitored Unit(C band)
Multiplexer Unit
03033FJE | TNG3M4801 | 48-Channel Multiplexing Board( Extended C_even,196.0THz~191.3THz,100GHz,Thermal AWG)
03033FJF | TNG3M4802 | 48-Channel Multiplexing Board( Extended C_odd,196.05THz~191.35THz,100GHz,Thermal AWG)
03033FJC | TNG3D4801 | 48-Channel Demultiplexing Board( Extended C_even,196.0THz~191.3THz,100GHz,Thermal AWG)
03033FJD | TNG3D4802 | 48-Channel Demultiplexing Board(Extended C_odd,196.05THz~191.35THz,100GHz,Thermal AWG)
03033FLF | TNG3M48V01 | 48-Channel Multiplexing Board With VOA(Extended C_even,196.0THz~191.3THz,100GHz)
03033FLG | TNG3M48V02 | 48-Channel Multiplexing Board With VOA(Extended C_odd,196.05THz~191.35THz,100GHz)
ROADM Multiplexer Unit
03033FME | TNG3DWSS2001 | Dual 20 ports flexible wavelength selective multiplexing and demultiplexing board(Extended C_band,191.25~196.075THz,37.5GHz~400GHz)(10 dimensions included,RTU Extension Supported)
03033NXY | TNG3DWSS20C01 | Dual 20 ports flexible wavelength selective multiplexing and demultiplexing board(Extended C_band,191.25~196.075THz,37.5GHz~400GHz)(10 dimensions included,RTU Extension Supported)
03050AJJ | TNG3DWSS20C01-R1 | Dual 20 ports flexible wavelength selective multiplexing and demultiplexing board(Extended C_band,191.25~196.075THz,37.5GHz~400GHz)(20 dimensions included)
3059629 | TNG3DWSS2001-R1 | Dual 20 ports flexible wavelength selective multiplexing and demultiplexing board(Extended C_band,191.25~196.075THz,37.5GHz~400GHz)(20 dimensions included)
03033FQU | TNG3ADC0824A01 | Add and drop unit with contentionless function( extended C_band, 191.25~196.075THz, 37.5GHz~400GHz, 8D, 24 add/drop multiplexing paired ports)
03033FMC | TNG3TMD2001 | 20-ports flexible and tunable wavelength multiplexing and demultiplexing board (extended C_Band, 191.25~196.075THz, 37.5GHz~400GHz, for add/drop)
03033FMG | TNG3WSMD901 | 9-ports flexible wavelength selective multiplexing and demultiplexing board(Extended C_band,191.25~196.075THz,37.5GHz~400GHz)(4 dimensions included,RTU Extension Supported)
3059628 | TNG3WSMD901-R1 | 9-ports flexible wavelength selective multiplexing and demultiplexing board(Extended C_band,191.25~196.075THz,37.5GHz~400GHz)(9 dimensions included)
Dispersion Compensation Module
45060023 | DCM(S)-C-652(5km) | DCM,1525~1568nm(compensate G.652 fiber),-77~-87ps/nm@1545nm(compensate 5km), &lt; =2.3dB, &lt; =0.1dB, &lt; =0.3ps,LC/UPC interface,no fiber,266*237*43mm
45060038 | DCM(T)-C-652(10km) | Dispersion Compensating Fiber,1525~1568nm(For G.652 Fiber),-170~-158ps/nm@1545nm(For 10km),2.6dB,0.1dB,0.3ps,LC/UPC Adapter,No Pigtail,266*237*43mm
45060012 | DCM(A)-C-652(20km) | Dispersion Compensation Module,1525~1568nm(compensate G.652 fiber),-319~-337ps/nm@1545nm(compensate 20km), &lt; =3.3dB, &lt; =0.1dB, &lt; =0.4ps,LC/UPC Interface,no fiber,266*237*43mm
45060013 | DCM(B)-C-652(40km) | Dispersion Compensation Module,1525~1568nm(compensate G.652 fiber),-635~-673ps/nm@1545nm(compensate 40km), &lt; =4.7dB, &lt; =0.1dB, &lt; =0.4ps,LC/UPC Interface,no fiber,266*237*43mm
45060014 | DCM(C)-C-652(60km) | Dispersion Compensation Module,1525~1568nm(compensate G.652 fiber),-953~-1009ps/nm@1545nm(compensate 60km), &lt; =6.4dB, &lt; =0.1dB, &lt; =0.6ps,LC/UPC Interface,no fiber,266*237*43mm
45060015 | DCM(D)-C-652(80km) | Dispersion Compensation Module,1525~1568nm(compensate G.652 fiber),-1270~-1340ps/nm@1545nm(compensate 80km), &lt; =8dB, &lt; =0.1dB, &lt; =0.7ps,LC/UPC Interface,no fiber,266*237*43mm
45060024 | DCM(E)-C-652(100km) | DCM,1525~1568nm(compensate G.652 fiber),-1671~-1611ps/nm@1545nm(compensate 100km), &lt; =9dB, &lt; =0.1dB, &lt; =0.8ps,LC/UPC interface,no fiber,266*237*43mm
45060037 | DCM(F)-C-652(120km) | Dispersion Compensating Fiber,1525~1568nm(For G.652 Fiber),-2001~-1937ps/nm@1545nm(For 120km),9.8dB,0.1dB,0.8ps,LC/UPC Adapter,No Pigtail,266*237*43mm
45080020 | SSE-DCM(H)-C-652-FBG(160km) | Dispersion Compensation Grating,1528~1568nm(compensation G.652 fiber),-2642ps/nm@1545(compensation 160km),8.0dB,1.6,LC/PC,235*234*45mm
45080028 | SSE-DCM(J)-C-652-FBG(200km) | Dispersion Compensation Grating-1528~1568nm(compensation G.652 fiber)--3302ps/nm@1545(compensation 200km)-8.0-1.6-LC/PC-235*234*45
45080027 | SSE-DCM(L)-C-652-FBG(240km) | Dispersion Compensation Grating,1528~1568nm(compensation G.652 fiber),-3962ps/nm@1545(compensation 240km),8.0,1.6,LC/PC,235*234*45
45080023 | SSE-DCM(F)-C-655-FBG(120km) | Dispersion Compensation Grating,3.7dB,1528~1568nm(compensation G.655 fiber),-452ps/nm@1545(compensation 120km),,LC/PC,235*234*28mm
45080024 | SSE-DCM(H)-C-655-FBG(160km) | Dispersion Compensation Grating,3.7dB,1528~1568nm(compensation G.655 fiber),-603ps/nm@1545(compensation 160km),LC/PC,235*234*28mm
45080025 | SSE-DCM(J)-C-655-FBG(200km) | Dispersion Compensation Grating,1528~1568nm(compensation G.655 fiber),-754ps/nm@1545(compensation 200km),LC/PC,235*234*28mm
45080026 | SSE-DCM(L)-C-655-FBG(240km) | Dispersion Compensation Grating,1528~1568nm(compensation G.655 fiber),-905ps/nm@1545(compensation 240km),3.7,1.0,LC/PC,235*234*28
45060025 | SSE-DCM(A)-C-LEAF(20km) | DCM,1528~1568nm(compensate LEAF(100%) fiber),-82~-71ps/nm@1545nm(compensate 20km), &lt; =4dB,0.3dB,0.5ps,LC/UPC,266*238*44mm
45060021 | SSE-DCM(C)-C-LEAF(60km) | DCM ,1528~1568nm(compensate LEAF(100%) fiber),-244~-215ps/nm@1545nm(compensate 60km), &lt; =6.2dB,0.3dB,0.8ps,LC/UPC,266*238*44mm
Hardware RTU Group
82601360 | RTU-LNSDRTUC05 | OSN 9800/8800 Client Port Enable RTU for 400G Port
82601308 | RTU-LNSDRTUM01 | OSN 9800/8800 Line Capacity RTU for 200G+ MSA Port(Per 100G)
82601311 | RTU-LNSDRTUC01 | OSN 9800/8800 Line Port Enable RTU for 200G CFP Port
82601312 | RTU-LNSDRTUC02 | OSN 9800/8800 Line Capacity RTU for 200G CFP Port(Per 100G)
82601522 | RTU-LNSDRTUQ04 | OSN 9800/8800 Client Port Enable RTU for 200G QSFP Port
82601510 | RTU-LNSDRTUC09 | OSN 9800/8800 Line Capacity RTU for 100G CFP Port(Per 10G)
82601399 | RTU-LNSDQSFPP01 | OSN 9800/8800 Line Port Enable RTU for 100G QSFP Port
82601309 | RTU-LNSDRTUQ01 | OSN 9800/8800 Client Port Enable RTU for 100G QSFP Port
82601310 | RTU-LNSDRTUQ02 | OSN 9800/8800 Client Port Enable RTU for 40G/50G QSFP Port
82601534 | RTU-LNSDRTUQ05 | OSN 9800/8800 Client Port Enable RTU for 25G Port
82601503 | RTU-LNSDRTUC08 | OSN 9800/8800 Client Port Enable RTU for 10G Port
88036BUU | RTU-TNGRTUDWSS20D01 | OptiX OSN 9800/9600 DWSS20 Dimensions RTU(Right for more than 10 dimensions)
88036CBM | RTU-TNGRTUWSMD9D01 | WSDM9 Dimensions RTU(Right for more than 4 dimensions)
82601462 | RTU-LNSDLRTU05 | C-band RTU(C96~C120 Enable)
Optical Transceiver Groupware
Optical Transceiver Groupware For OTU Board(1.25Gb/s,Pluggable)
34060286 | eSFP-850nm-1000Base-Sx/FC200 MM | Optical Transceiver,eSFP,850nm,2.125Gb/s(Multi rate) ,-9.5~-2.5dBm,-17dBm,LC,MM,0.5km
34060473 | eSFP-1310nm-1000Base-Lx SM | Optical transceiver,eSFP,1310nm,1.25Gb/s,-9~-3dBm,-20dBm,LC,Single Mode,10km
34060298 | eSFP-1310nm-1000Base-Vx | Optical Transceiver,eSFP,1310nm,1.25Gb/s,-5~0dBm,-23dBm,LC,SM,40km
34060360 | eSFP-1550nm-1000Base-Zx/FC100 | Optical Transceiver,eSFP,1550nm,1.25Gb/s,-2~5dBm,-23dBm,LC,SM,80km
34100052 | SFP-1000BaseT | 1000BASE-T (RJ45) SFP Electrical Module,Auto Negotiate,100m
Optical Transceiver Assembly For SSC8LOM Client Side,ESFP,FC400
34060365 | eSFP(S)-850nm-FC400 MM | Optical Transceiver,eSFP,850nm,4.25G multi-rate,-9dBm~-1.5dBm,-15dBm,LC,MM,0.3km
34060471 | eSFP(S)-1310nm-FC400 SM | Optical Transceiver,eSFP,1310nm,4.25G multi-rate,-8.4~-1dBm,-18dBm,LC,SM,10km
100G CFPT69(SH,SDFEC2,Coherent wDCM,Tunable,expanded C Band,-2dBm-2dBm,-27dBm,50GHz,LC)
03032LVW | TNF1C1CFPT69 | 100G CFPT69(SH,SDFEC2,Coherent wDCM,Tunable,expanded C Band,-2dBm-2dBm,-27dBm,50GHz,LC)
Optical Transceiver Groupware(GE/10GE,SFP+)
34061042 | OSX010N13 | XFP SFP+ Transceiver-SFP+-1310nm-10G/1G--8.2dbm-0.5dbm-Single-mode-14.4dbm-LC-10km
100G CFPT65(Metro,SDFEC2,Coherent wDCM,Tunable,expanded C Band,-3dBm-2dBm,-18dBm,50GHz,LC)
03032BXT | TNF1C1CFPT65 | 100G CFPT65(Metro,SDFEC2,Coherent wDCM,Tunable,expanded C Band,-3dBm-2dBm,-18dBm,50GHz,LC)
Optical Transceiver Groupware(OTU4,Straight,wDCM,100GcoherentCFP)
03032AMR | TN11C1CFPT65 | 100G CFPT65(Metro,SDFEC2,Coherent wDCM,Tunable,Extended C Band,-5dBm-0dBm,-16dBm,50GHz,LC)
03032AXX | TN11C1CFPT62 | 100G CFPT62(LH,SDFEC2,Coherent wDCM,Tunable,Extended C Band,-5dBm-0dBm,-16dBm,50GHz,LC)
Optical Transceiver Groupware(OTU4,Straight,100GcoherentCFP)
03032AMP | TN11C1CFPT5U | 100G CFPT5U(ULH+,SDFEC2,Coherent,Tunable,Extended C Band,-5dBm,-1dBm,-16dBm,50GHz,LC)
03032AMQ | TN11C1CFPT5G | 100G CFPT5G(ULH+,SDFEC2,Coherent,Tunable,Extended C Band,-5dBm-0dBm,-16dBm,50GHz,LC)
Single Fiber BiDi Transceiver Groupware(CPRI, 15km,Single Fiber BiDi,eSFP)
34060621 | OSU015B00 | BiDi Transceiver,eSFP,1310nm(Tx)1490nm(Rx),125M~2.67Gbps,-5dBm,0dBm,-18dBm,LC,SM,15km,-40~85 degC
34060622 | OSU015B01 | BiDi Transceiver,eSFP,1490nm(Tx)1310nm(Rx),125M~2.67Gbps,-5dBm,0dBm,-18dBm,LC,SM,15km,-40~85 degC
Optical Transceiver Groupware(FC400/FC800/FC1600,SFP+)
34060779 | SFP-16GFC-2 | Optical Transceiver,SFP+,850nm,14.025Gbps,-7.8dBm,0dBm,-10.5dBm,LC,MMF,0.1km
Single Fiber BiDi Transceiver-SFP+ Groupware(CPRI, 10km,Single Fiber BiDi,SFP+)
34060544-001 | SFP-GE-LX-SM1270-BIDI | BiDi Transceiver-SFP+-1270nm(Tx)/1330nm(Rx)-2.5~11.3Gb/s--8.2dBm-0.5dBm--14.4dBm-LC-SM-10km--40~85degc
34060546-001 | SFP-GE-LX-SM1330-BIDI | BiDi Transceiver-SFP+-1330nm(Tx)/1270nm(Rx)-2.5~11.3Gb/s--8.2dBm-0.5dBm--14.4dBm-LC-SM-10km--40~85degc
Optical Transceiver Groupware(125M~2.67Gb/s,120km,DWDM,eSFP)
34060366 | eSFP-LH120-SM192.10 | Optical Transceiver,eSFP,1560.61nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060372 | eSFP-LH120-SM192.20 | Optical Transceiver,eSFP,1559.79nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060373 | eSFP-LH120-SM192.30 | Optical Transceiver,eSFP,1558.98nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060374 | eSFP-LH120-SM192.40 | Optical Transceiver,eSFP,1558.17nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060375 | eSFP-LH120-SM192.50 | Optical Transceiver,eSFP,1557.36nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060376 | eSFP-LH120-SM192.60 | Optical Transceiver,eSFP,1556.55nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060377 | eSFP-LH120-SM192.70 | Optical Transceiver,eSFP,1555.75nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060378 | eSFP-LH120-SM192.80 | Optical Transceiver,eSFP,1554.94nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060379 | eSFP-LH120-SM192.90 | Optical Transceiver,eSFP,1554.13nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060380 | eSFP-LH120-SM193.00 | Optical Transceiver,eSFP,1553.33nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060381 | eSFP-LH120-SM193.10 | Optical Transceiver,eSFP,1552.52nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060382 | eSFP-LH120-SM193.20 | Optical Transceiver,eSFP,1551.72nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060383 | eSFP-LH120-SM193.30 | Optical Transceiver,eSFP,1550.92nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060384 | eSFP-LH120-SM193.40 | Optical Transceiver,eSFP,1550.12nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060385 | eSFP-LH120-SM193.50 | Optical Transceiver,eSFP,1549.32nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060386 | eSFP-LH120-SM193.60 | Optical Transceiver,eSFP,1548.51nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060387 | eSFP-LH120-SM193.70 | Optical Transceiver,eSFP,1547.72nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060388 | eSFP-LH120-SM193.80 | Optical Transceiver,eSFP,1546.92nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060389 | eSFP-LH120-SM193.90 | Optical Transceiver,eSFP,1546.12nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060390 | eSFP-LH120-SM194.00 | Optical Transceiver,eSFP,1545.32nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060391 | eSFP-LH120-SM194.10 | Optical Transceiver,eSFP,1544.53nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060392 | eSFP-LH120-SM194.20 | Optical Transceiver,eSFP,1543.73nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060393 | eSFP-LH120-SM194.30 | Optical Transceiver,eSFP,1542.94nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060394 | eSFP-LH120-SM194.40 | Optical Transceiver,eSFP,1542.14nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060395 | eSFP-LH120-SM194.50 | Optical Transceiver,eSFP,1541.35nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060396 | eSFP-LH120-SM194.60 | Optical Transceiver,eSFP,1540.56nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060397 | eSFP-LH120-SM194.70 | Optical Transceiver,eSFP,1539.77nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060398 | eSFP-LH120-SM194.80 | Optical Transceiver,eSFP,1538.98nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060399 | eSFP-LH120-SM194.90 | Optical Transceiver,eSFP,1538.19nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060400 | eSFP-LH120-SM195.00 | Optical Transceiver,eSFP,1537.40nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060401 | eSFP-LH120-SM195.10 | Optical Transceiver,eSFP,1536.61nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060402 | eSFP-LH120-SM195.20 | Optical Transceiver,eSFP,1535.82nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060403 | eSFP-LH120-SM195.30 | Optical Transceiver,eSFP,1535.04nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060404 | eSFP-LH120-SM195.40 | Optical Transceiver,eSFP,1534.25nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060405 | eSFP-LH120-SM195.50 | Optical Transceiver,eSFP,1533.47nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060406 | eSFP-LH120-SM195.60 | Optical Transceiver,eSFP,1532.68nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060407 | eSFP-LH120-SM195.70 | Optical Transceiver,eSFP,1531.90nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060408 | eSFP-LH120-SM195.80 | Optical Transceiver,eSFP,1531.12nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060409 | eSFP-LH120-SM195.90 | Optical Transceiver,eSFP,1530.33nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
34060410 | eSFP-LH120-SM196.00 | Optical Transceiver,eSFP,1529.55nm,125M~2.67Gbps,0~4.0dBm,-28.0dBm,LC,120km
Optical Transceiver Groupware(GE,Single Fiber,Bidirectional,eSFP)
34060475 | SFP-GE-LX-SM1490-BIDI | BiDi Transceiver,eSFP,Tx1490nm/Rx1310nm,1.25Gb/s,-9dBm,-3dBm,-19.5dBm,LC,SM,10km
34060470 | SFP-GE-LX-SM1310-BIDI | BiDi Transceiver,eSFP,Tx1310nm/Rx1490nm,1.25Gb/s,-9dBm,-3dBm,-19.5dBm,LC,SM,10km
34060540 | OGEBIDI40 | Optical Transceiver,eSFP,1490nm(Tx)/1310nm(Rx),1.25Gb/s,-2dBm,3dBm,-23dBm,LC,SM,40km
34060539 | OGEBIDI41 | Optical Transceiver,eSFP,1310nm(Tx)/1490nm(Rx),1.25Gb/s,-2dBm,3dBm,-23dBm,LC,SM,40km
Optical Transceiver Groupware(OTU1/STM1/STM4/STM16/FC200/ISC1G/ISC2G/FC100/GE/ESCON/DVB-ASI/FE/FICON/FICON EXPRESS,eSFP)
34060286 | eSFP-850nm-1000Base-Sx/FC200 MM | Optical Transceiver,eSFP,850nm,2.125Gb/s(Multi rate) ,-9.5~-2.5dBm,-17dBm,LC,MM,0.5km
34060484 | eSFP-1310nm-155M-2.5G-LC-SM-2km | Optical Transceiver,eSFP,1310nm,155M~2.67G,-10~-3dBm,-18dBm,LC,SM,2km
34060485 | eSFP-SM1310-155M~2.5G-15km | Optical Transceiver,eSFP,1310nm,155M~2.67G,-5~0dBm,-21dBm,LC,SM,15km
34060289 | eSFP-1310nm-L-16.1 | Optical Transceiver,eSFP,1310nm,STM16,-2~3dBm,-29dBm,LC,SM,40km
34060488 | eSFP-1550nm-L-16.2 | Optical Transceiver,eSFP,1550nm,STM16,-2~3dBm,-30dBm,LC,SM,80km
Optical Transceiver Groupware(OTU1/STM1/STM4/STM16/FC200/ISC1G/ISC2G/FC100/GE/ESCON/DVB-ASI/FE/FICON/FICON EXPRESS,80km,CWDM,eSFP)
34060483 | eSFP-LH80-SM1471 | Optical Transceiver,eSFP,1471nm,100M~2.67Gbps,5dBm,0dBm,-28dBm,LC,80Km
34060481 | eSFP-LH80-SM1491 | Optical Transceiver,eSFP,1491nm,100M~2.67Gbps,5dBm,0dBm,-28dBm,LC,80Km
34060479 | eSFP-LH80-SM1511 | Optical Transceiver,eSFP,1511nm,100M~2.67Gbps,5dBm,0dBm,-28dBm,LC,80Km
34060482 | eSFP-LH80-SM1531 | Optical Transceiver,eSFP,1531nm,100M~2.67Gbps,5dBm,0dBm,-28dBm,LC,80Km
34060478 | eSFP-LH80-SM1551 | Optical Transceiver,eSFP,1551nm,100M~2.67Gbps,5dBm,0dBm,-28dBm,LC,80Km
34060476 | eSFP-LH80-SM1571 | Optical Transceiver,eSFP,1571nm,100M~2.67Gbps,5dBm,0dBm,-28dBm,LC,80Km
34060477 | eSFP-LH80-SM1591 | Optical Transceiver,eSFP,1591nm,100M~2.67Gbps,5dBm,0dBm,-28dBm,LC,80Km
34060480 | eSFP-LH80-SM1611 | Optical Transceiver,eSFP,1611nm,100M~2.67Gbps,5dBm,0dBm,-28dBm,LC,80Km
Optical Transceiver Groupware(STM64/10GWAN/10GLAN/OTU2/OTU2e/FC1200,With CDR,SFP+)
34060613 | OSX010N01 | Optical transceiver,SFP+,1310nm,8.5Gb/s-11.1Gb/s with CDR,-6.0~-1.0dBm,-14.4dBm,LC,SM,10km
34060711 | OSX040N04 | Optical transceiver,SFP+,1550nm,10Gb/s,-1~2dBm,-16dBm,LC,SM,40km,with CDR
34060964 | OSX080N07 | Optical transceiver,SFP+,1550nm,10Gb/s with CDR,0dBm,4dBm,-24dBm,LC,SM,80km,with CDR
Optical Transceiver Groupware(10GLAN/10GWAN,SFP+)
34060494 | OMXD30001 | Optical transceiver,SFP+,850nm,10Gb/s,-7.3~-1dBm,-9.9dBm,LC, MM,0.3km
34060742 | OSX010N30 | Optical transceiver,SFP+,1310nm,10Gb/s,-8.2~0.5dBm,-12.6dBm,LC,SM,10km
34060518 | OSX040N00 | Optical transceiver,SFP+,1550nm,9.95~11.1Gb/s,-4.7~4dBm,-14.1dBm,LC,SM,40km
34060672 | OSX080N00 | Optical Transceiver,SFP+,1550,9.953~10.3125Gb/s,0dBm,4dBm,-24dBm,LC,SMF,80km
SFP Optical Transceiver Groupware for Client Side(DVB-ASI/SDI/HD-SDI/3G-SDI)
34060610 | OSU010N01 | Optical Transceiver,eSFP,1310,0.1~3Gb/s,-5dBm,0dBm,-21dBm,LC,10km
OptiX OSN 8800-Optical Transceiver Groupware(155.52Mb/s,eSFP,80km)
34060675 | OSC080N00 | Optical Transceiver,eSFP,1491nm,155.52Mbps,-4~1dBm,-34.0dBm,LC,80km
34060674 | OSC080N01 | Optical Transceiver,eSFP,1511nm,155.52Mbps,-4~1dBm,-34.0dBm,LC,80km
OptiX OSN 8800-Optical Transceiver Groupware(155.52Mb/s,eSFP,150km)
34060529 | OSC120N01 | Optical Transceiver,eSFP,1511nm,155.52Mbps,0.5~5.0dBm,-41.0dBm,LC,150km
34060530 | OSC120N02 | Optical Transceiver,eSFP,1491nm,155.52Mbps,0.5~5.0dBm,-41.0dBm,LC,150km
OSN550 STM-4 SFP Module Collection(Commerce Level)
34060277 | eSFP-1310nm-S-4.1/ESCON SM/DVB ASI SM | Optical Transceiver,eSFP,1310nm,STM4,-15~-8dBm,-30dBm,LC,SM,15km
34060280 | eSFP-1310nm-L-4.1 | Optical Transceiver,eSFP,1310nm,STM4,-3~2dBm,-30dBm,LC,SM,40km
34060284 | eSFP-1550nm-L-4.2 | Optical Transceiver,eSFP,1550nm,STM4,-3~2dBm,-30dBm,LC,SM,80km
FE eSFP Module Collection(Commerce Level)
34060276 | eSFP-FE-LX-SM1310 | Optical Transceiver,eSFP,1310nm,STM1,-15~-8dBm,-28dBm,LC,SM,15km
34060281 | eSFP-FE-LH40-SM1310 | Optical Transceiver,eSFP,1310nm,STM1,-5~0dBm,-37dBm,LC,SM,40km
34060282 | eSFP-FE-LH80-SM1550 | Optical Transceiver,eSFP,1550nm,STM1,-5~0dBm,-37dBm,LC,SM,80km
34060364 | SFP-FE-LX-SM1550-BIDI | BiDi transceiver,eSFP,Tx1550nm/Rx1310nm,155M,-15dBm,-8dBm,-32dBm,LC/PC,SM,15km
34060363 | SFP-FE-LX-SM1310-BIDI | BiDi transceiver,eSFP,Tx1310nm/Rx1550nm,155M,-15dBm,-8dBm,-32dBm,LC/PC,SM,15km
Optical Transceiver Assembly for WDM Side
34061613 | SFP+-10G-DWDM-192.1THz-40km-SM-01 | Optical Transceiver,SFP+,1560.61nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061614 | SFP+-10G-DWDM-192.2THz-40km-SM-01 | Optical Transceiver,SFP+,1559.79nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061615 | SFP+-10G-DWDM-192.3THz-40km-SM-01 | Optical Transceiver,SFP+,1558.98nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061616 | SFP+-10G-DWDM-192.4THz-40km-SM-01 | Optical Transceiver,SFP+,1558.17nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061527 | SFP+-10G-DWDM-192.5THz-40km-SM-01 | Optical Transceiver,SFP+,1557.36nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061528 | SFP+-10G-DWDM-192.6THz-40km-SM-01 | Optical Transceiver,SFP+,1556.55nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061529 | SFP+-10G-DWDM-192.7THz-40km-SM-01 | Optical Transceiver,SFP+,1555.75nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061530 | SFP+-10G-DWDM-192.8THz-40km-SM-01 | Optical Transceiver,SFP+,1554.94nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061531 | SFP+-10G-DWDM-192.9THz-40km-SM-01 | Optical Transceiver,SFP+,1554.13nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061532 | SFP+-10G-DWDM-193THz-40km-SM-01 | Optical Transceiver,SFP+,1553.33nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061533 | SFP+-10G-DWDM-193.1THz-40km-SM-01 | Optical Transceiver,SFP+,1552.52nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061534 | SFP+-10G-DWDM-193.2THz-40km-SM-01 | Optical Transceiver,SFP+,1551.72nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061535 | SFP+-10G-DWDM-193.3THz-40km-SM-01 | Optical Transceiver,SFP+,1550.92nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061536 | SFP+-10G-DWDM-193.4THz-40km-SM-01 | Optical Transceiver,SFP+,1550.12nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061537 | SFP+-10G-DWDM-193.5THz-40km-SM-01 | Optical Transceiver,SFP+,1549.32nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061538 | SFP+-10G-DWDM-193.6THz-40km-SM-01 | Optical Transceiver,SFP+,1548.51nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061539 | SFP+-10G-DWDM-193.7THz-40km-SM-01 | Optical Transceiver,SFP+,1547.72nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061540 | SFP+-10G-DWDM-193.8THz-40km-SM-01 | Optical Transceiver,SFP+,1546.92nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061541 | SFP+-10G-DWDM-193.9THz-40km-SM-01 | Optical Transceiver,SFP+,1546.12nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061542 | SFP+-10G-DWDM-194THz-40km-SM-01 | Optical Transceiver,SFP+,1545.32nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061543 | SFP+-10G-DWDM-194.1THz-40km-SM-01 | Optical Transceiver,SFP+,1544.53nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061544 | SFP+-10G-DWDM-194.2THz-40km-SM-01 | Optical Transceiver,SFP+,1543.73nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061545 | SFP+-10G-DWDM-194.3THz-40km-SM-01 | Optical Transceiver,SFP+,1542.94nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061546 | SFP+-10G-DWDM-194.4THz-40km-SM-01 | Optical Transceiver,SFP+,1542.14nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061547 | SFP+-10G-DWDM-194.5THz-40km-SM-01 | Optical Transceiver,SFP+,1541.35nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061548 | SFP+-10G-DWDM-194.6THz-40km-SM-01 | Optical Transceiver,SFP+,1540.56nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061549 | SFP+-10G-DWDM-194.7THz-40km-SM-01 | Optical Transceiver,SFP+,1539.77nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061550 | SFP+-10G-DWDM-194.8THz-40km-SM-01 | Optical Transceiver,SFP+,1538.98nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061551 | SFP+-10G-DWDM-194.9THz-40km-SM-01 | Optical Transceiver,SFP+,1538.19nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061552 | SFP+-10G-DWDM-195THz-40km-SM-01 | Optical Transceiver,SFP+,1537.4nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061553 | SFP+-10G-DWDM-195.1THz-40km-SM-01 | Optical Transceiver,SFP+,1536.61nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061554 | SFP+-10G-DWDM-195.2THz-40km-SM-01 | Optical Transceiver,SFP+,1535.82nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061555 | SFP+-10G-DWDM-195.3THz-40km-SM-01 | Optical Transceiver,SFP+,1535.04nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061556 | SFP+-10G-DWDM-195.4THz-40km-SM-01 | Optical Transceiver,SFP+,1534.25nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061557 | SFP+-10G-DWDM-195.5THz-40km-SM-01 | Optical Transceiver,SFP+,1533.47nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061558 | SFP+-10G-DWDM-195.6THz-40km-SM-01 | Optical Transceiver,SFP+,1532.68nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061559 | SFP+-10G-DWDM-195.7THz-40km-SM-01 | Optical Transceiver,SFP+,1531.9nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061560 | SFP+-10G-DWDM-195.8THz-40km-SM-01 | Optical Transceiver,SFP+,1531.12nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061561 | SFP+-10G-DWDM-195.9THz-40km-SM-01 | Optical Transceiver,SFP+,1530.33nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
34061562 | SFP+-10G-DWDM-196THz-40km-SM-01 | Optical Transceiver,SFP+,1529.55nm,9.95G~11.1Gbps,-1~3dBm,-16dBm,LC,SMF,40km
Optical Transceiver Groupware(155.52Mb/s,eSFP,OTDR2.0,150km)
34061361 | 155M-CWDM-1491nm-150km-SM-ESFP | 150km OSC Transceiver(OTDR 2.0)
34061362 | 155M-CWDM-1511nm-150km-SM-ESFP | 150km OSC Transceiver(OTDR 2.0)
Optical Transceiver Groupware(OTUC2/OTU4,Straight,200G/100G coherent CFP)
03032VEY | TN11C2CFPT15 | 200G CFPT15(Metro, SDFEC@ 200G 16QAM/ SDFEC2 @100G QPSK, Coherent, Tunable, Extended C Band,-5dBm-1dBm,-16dBm,Fixed)
Optical Transceiver Groupware(100GE,QSFP28,singlerate)
34061300 | 100G-CLR4-4*25-1310nm-2km-SM-QSFP28 | High Speed Transceiver,QSFP28,1310nm,100G,-6.5dBm,2.5dBm,-10.9dBm,LC,SMF,2km
34061089 | OMN0D1N01 | High Speed Transceiver,QSFP28,850nm,100G,-8.4dBm,2.4dBm,-10.3dBm,MPO,MM,0.1km,OM4
Optical Transceiver Groupware(100G/OTU4,QSFP28,doublerate)
34061478 | QSFP28-100G-1295nm~1310nm-10km-SM-01 | Optical transceiver,QSFP-100G-LR4,10km
OptiX OSN 8800-Pluggable Extended C-Band Optical Amplifier Unit(Support WD) Groupware
34070258 | TN52OACE101 | Pluggable Optical Amplifier, Extended C-band, Gain 20~31dB, Max 21.5dBm Out, Support WD
34070259 | TN52OACE105 | Pluggable Optical Amplifier, Extended C-band, Gain 23~32dB, Max 23.8dBm Out, Support WD
34070261 | TN52OACE106 | Pluggable Optical Amplifier, Extended C-band, Gain 13~23dB, Max 21.5dBm Out, Support WD
34070262 | TN52OACE107 | Pluggable Optical Amplifier, Extended C-band, Gain 17~25dB, Max 23.8dBm Out, Support WD
34070276 | TN52OACE108 | Pluggable Optical Amplifier, Extended C-band, Gain 8~14dB, Max 21.5dBm Out, Support WD
Optical Transceiver Groupware(OTUC2/OTU4,Straight,200G/100G coherent CFP GEN.2)
03032YHC | TN12C2CFPT23 | 200G CFPT23(LHD, SDFEC2@200G e16QAM/100G QPSK/etc.,flex rate, Coherent,Tunable,Extended C Band,-5dBm-0dBm,-16dBm,Flexgrid)
03032YHF | TNF2C2CFPT23 | 200G CFPT23(LHD, SDFEC2@200G e16QAM/100G QPSK/etc.,flex rate, Coherent,Tunable,Extended C Band,-10dBm-4dBm,-18dBm,Flexgrid)
QSFP+ Optical Transceiver Assembly,40GE
34060866 | OSM010N00 | High Speed Transceiver,QSFP+,1310,41.25Gbps,-8.2dBm,0.5dBm,-12.6dBm,MPO,SM,10km
34060714 | OMM0D3N01 | High Speed Transceiver,QSFP+,850nm,41.25Gbps,-7.6dBm,0.5dBm,-5.4dBm,MPO,0.3km
Optical Transceiver Groupware(OTU4,Straight,100G coherent CFP GEN.2)
03032YVX | TN13C1CFPT52 | 100G CFPT52(ULH,SDFEC2,Coherent,Tunable,Extended C Band,-5dBm-0dBm,-16dBm,Fixed)
03033AEA | TNF3C1CFPT51 | 100G CFPT51(SLH,SDFEC2,Coherent,Tunable,Extended C Band,-10dBm-4dBm,-18dBm,Fixed)
03032AXY | TN13C1CFPT53 | 100G CFPT53(LH,SDFEC2,Coherent,Tunable,Extended C Band,-5dBm-0dBm,-16dBm,Fixed)
03032VMY | TN12C1CFPT51 | 100G CFPT51(SLH,SDFEC2,Coherent,Tunable,Extended C Band,-5dBm,-1dBm,-16dBm,Fixed)
Optical Transceiver Groupware(OTU4,Straight,wDCM,100GcoherentCFP)
03032YVW | TNF3C1CFPT61 | 100G CFPT61(ULH,SDFEC2,Coherent wDCM,Tunable,Extended C Band,-10dBm-4dBm,-18dBm,Fixed)
03033AEB | TN13C1CFPT63 | 100G CFPT63(Metro+,SDFEC2,Coherent wDCM,Tunable,Extended C Band,-5dBm-0dBm,-16dBm,Fixed)
03032VNA | TN12C1CFPT61 | 100G CFPT61(ULH,SDFEC2,Coherent wDCM,Tunable,Extended C Band,-5dBm,-1dBm,-16dBm,Fixed)
Optical Transceiver Groupware(GE)(BIDI)
34060596 | OGEBIDI81 | BiDi Transceiver,eSFP,1490nm(Tx)/1570nm(Rx),1.25Gbps,-2dBm,4dBm,-26dBm,LC,SM,80km
34060595 | OGEBIDI80 | BiDi Transceiver,eSFP,1570nm(Tx)/1490nm(Rx),1.25Gbps,-2dBm,4dBm,-26dBm,LC,SM,80km
Optical Transceiver Groupware(OTUC2/OTU4,Straight,200G/100G coherent CFP2 GEN.2,Single tunable laser,C96)
03032XUG | TN13C2CFP2A24 | 200G CFP2A24(Metro+,SDFEC2@200G e16QAM/100G QPSK/etc.,flex rate, Coherent,Tunable,Extended C Band,-10dBm-1dBm,-18dBm,Flexgrid)
03033CUC | TN13C2CFP2A15 | 200G CFP2A15(Metro,SDFEC@200G 16QAM/SDFEC2 @100G QPSK/etc.,flex rate, Coherent,Tunable,Extended C Band,-10dBm-1dBm,-18dBm,Fixed)
OptiX OSN 9800 M12,Optical Transceiver Assembly For OSN 9800 M12 Client Side,CSFP
34061329 | OSG010007 | BiDi Transceiver,CSFP,1310(Tx)/1490(Rx)nm,1.25Gb/s,-9dBm,-3dBm,-24dBm,LC,SMF,10km
34060803 | OSG010005 | Integrated Optical Transmitting and Receiving Module,CSFP,Transmitting:1490nm,Receiving:1310nm,1.25Gb/s,-9.0dBm,-3.0dBm,-24dBm,LC,GE/FE autonegotiation
Installation Material
External Cable Set
Single Core Power Cable Packaged by Roll-PVC-16mm^2
25030430 | C1016BL00 | Power Cable,450V/750V,60227 IEC 02(RV),16mm^2,Blue,85A,CCC,CE (Unit:meter)
25030428 | C1016BK00 | Power Cable,450V/750V,60227 IEC 02(RV),16mm^2,Black,85A,CCC,CE (Unit:meter)
25030427 | C1016RE00 | Power Cable,450V/750V,60227 IEC 02(RV),16mm^2,Red,85A,CCC,CE (Unit:meter)
25030429 | C1016YG00 | Power Cable,450V/750V,60227 IEC 02(RV),16mm^2,Yellow/Green,85A,CCC,CE (Unit:meter)
25030569 | C1016G001 | Power Cable,450V/750V,60227 IEC 02(RV),16mm^2,Green,85A,CCC,CE (Unit:meter)
Single Core Power Cable Packaged by Roll-PVC-25mm^2
25030101 | C1025BL00 | Power Cable,450V/750V,60227 IEC 02(RV),25mm^2,Blue,112A,CCC,CE (Unit:meter)
25030432 | C1025BK00 | Power Cable,450V/750V,60227 IEC 02(RV),25mm^2,Black,112A,CCC,CE (Unit:meter)
25030433 | C1025RE00 | Power Cable,450V/750V,60227 IEC 02(RV),25mm^2,Red,112A,CCC,CE (Unit:meter)
25030431 | C1025YG00 | Power Cable,450V/750V,60227 IEC 02(RV),25mm^2,Yellow/Green,112A,CCC,CE (Unit:meter)
25030570 | C1025GR00 | Power Cable,450V/750V,60227 IEC 02(RV),25mm^2,Green,112A,CCC,CE (Unit:meter)
Single Core Power Cable Packaged by Roll-PVC-35mm^2
25030199 | C1035BL00 | Power Cable,450V/750V,60227 IEC 02(RV),35mm^2,Blue,138A,CCC,CE (Unit:meter)
25030420 | C1035BK00 | Power Cable,450V/750V,60227 IEC 02(RV),35mm^2,Black,138A,CCC,CE (Unit:meter)
25030418 | C1035RE00 | Power Cable,450V/750V,60227 IEC 02(RV),35mm^2,Red,138A,CCC,CE (Unit:meter)
25030419 | C1035YG00 | Power Cable,450V/750V,60227 IEC 02(RV),35mm^2,Yellow/Green,138A,CCC,CE (Unit:meter)
25030571 | C1035GR01 | Power Cable,450V/750V,60227 IEC 02(RV),35mm^2,Green,138A,CCC,CE (Unit:meter)
E2000_ODF Box and Optical Fibers Collection
02310QSB | FIU2201-1U-E2000-6 | Subrack-6 cores-1U*482mm*265mm-huawei grey-Steel sheet-19" (21")installation-FIU2201-1U-E2000-6
E2000 Optical Fibers to Customer's Fiber Cable
14131262 | F00S6E004 | Optical Cable Parts,6E2000/APC,/,Single mode,GJBFJH-6B6a2,4m,8.5mm,6Cores,1.2m,2mm,Optical Cable Parts length is 4m,High power,Low loss,LSZH
14131263 | F00S6E010 | Optical Cable Parts,6E2000/APC,/,Single mode,GJBFJH-6B6a2,100m,8.5mm,6Cores,1.2m,2mm,Optical Cable Parts length is 10m,High power,Low loss,LSZH
14131589 | F00S6E100 | Optical Cable Parts,6E2000/APC,/,Single mode,GJBFJH-6B6a2,100m,8.5mm,6Cores,1.2m,2mm,Optical Cable Parts length is 100m,High power,Low loss,LSZH
E2000 Optical Fibers to Equipment Subrack Side
14131258 | FS4E2L020 | Optical Cable Parts,4E2000/APC+2LC/UPC,Single mode,GJBFJH-6B6a2,20m,8.5mm,6Cores,4m,2mm,Optical Cable Parts length is 20m,High power,High power,Low loss,LSZH
14131259 | FS4E2L030 | Optical Cable Parts,4E2000/APC+2LC/UPC,Single mode,GJBFJH-6B6a2,30m,8.5mm,6Cores,4m,2mm,Optical Cable Parts length is 30m,High power,High power,Low loss,LSZH
14131260 | FS4E2L050 | Optical Cable Parts,4E2000/APC+2LC/UPC,Single mode,GJBFJH-6B6a2,50m,8.5mm,6Cores,4m,2mm,Optical Cable Parts length is 50m,High power,High power,Low loss,LSZH
14131261 | FS4E2L100 | Optical Cable Parts,4E2000/APC+2LC/UPC,Single mode,GJBFJH-6B6a2,100m,8.5mm,6Cores,4m,2mm,Optical Cable Parts length is 100m,High power,High power,Low loss,LSZH
Patch Cord
Subassembly ¦ Accessories,Single Cord Single-mode Fiber Standard Module,LC/UPC-LC/UPC-G.657A2
14130661 | FSLL1D501 | Patch Cord,LC/UPC,LC/UPC,Single-mode,1.5m,G.657A2,2mm
14130667 | FSLL00301 | Patch Cord,LC/UPC,LC/UPC,Single-mode,3m,G.657A2,2mm
14130661-001 | FSLL1D504 | Patch Cord,LC/UPC,LC/UPC,Single-mode,5m,G.657A2,2mm
14130895 | FSLL00801 | Patch Cord,LC/UPC,LC/UPC,Single-mode,8m,G.657A2,2mm
14130669 | FSLL01003 | Patch Cord,LC/UPC,LC/UPC,Single-mode,10m,G.657A2,2mm
14130661-002 | FSLL01502 | Patch Cord,LC/UPC,LC/UPC,Single-mode,15m,G.657A2,2mm
14130670 | FSLL02003 | Patch Cord,LC/UPC,LC/UPC,Single-mode,20m,G.657A2,2mm
14130968 | FSLL02501 | Patch Cord,LC/UPC,LC/UPC,Single-mode,25m,G.657A2,2mm
14130671 | FSLL03001 | Patch Cord,LC/UPC,LC/UPC,Single-mode,30m,G.657A2,2mm
14130661-003 | FSLL04000 | Patch Cord,LC/UPC,LC/UPC,Single-mode,40m,G.657A2,2mm
14130597 | FG657A202 | Patch Cord,LC/UPC ,LC/UPC,Single-mode,1m,G.657A2,2mm,LSZH
14130601 | FSLL00601 | Patch Cord,LC/UPC,LC/UPC,Single-mode,6m,G.657A2,2mm,LSZH
14130967 | FSLL01005 | Patch Cord,LC/UPC,LC/UPC,Single-mode,10m,G.657A2,2mm,LSZH
14130598 | LC-LC-S-20,LSZH | Patch Cord,LC/UPC,LC/UPC,Single-mode,20m,G.657A2,2mm,LSZH
Subassembly ¦ Accessories,Single Cord Single-mode Fiber Standard Module,LC/UPC-SC/FC-G.657A2
14130982 | FSLF00502 | Patch Cord,LC/UPC,FC/UPC,Single-mode,5m,G.657A2,2mm
14130891 | FSLF08001 | Patch Cord,LC/UPC,FC/UPC,Single-mode,8m,G.657A2,2mm
14130892 | FSLF12001 | Patch Cord,LC/UPC,FC/UPC,Single-mode,12m,G.657A2,2mm
14130674 | FSFL01501 | Patch Cord,LC/UPC,FC/UPC,Single-mode,15m,G.657A2,2mm
14130893 | FSLF18001 | Patch Cord,LC/UPC,FC/UPC,Single-mode,18m,G.657A2,2mm
14130666 | FSFL02001 | Patch Cord,LC/UPC,FC/UPC,Single-mode,20m,G.657A2,2mm
14130894 | FSFL02200 | Patch Cord,LC/UPC,FC/UPC,Single-mode,22m,G.657A2,2mm
14130675 | FSFL02501 | Patch Cord,LC/UPC,FC/UPC,Single-mode,25m,G.657A2,2mm
14130676 | FSFL03001 | Patch Cord,LC/UPC,FC/UPC,Single-mode,30m,G.657A2,2mm
14130966 | FSFL03500 | Patch Cord,LC/UPC,FC/UPC,Single-mode,35m,G.657A2,2mm
14130677 | FSFL04000 | Patch Cord,LC/UPC,FC/UPC,Single-mode,40m,G.657A2,2mm
14130678 | FSFL05001 | Patch Cord,LC/UPC,FC/UPC,Single-mode,50m,G.657A2,2mm
14130525 | LC-FC-S-10,LSZH | Patch Cord,LC/UPC,FC/UPC,Single-mode,10m,G.657A2,2mm,LSZH
14130525-002 | FSLF01502 | Patch Cord,LC/UPC,FC/UPC,Single-mode,15m,G.657A2,2mm,LSZH
14130599 | LC-FC-S-20,LSZH | Patch Cord,LC/UPC,FC/UPC,Single-mode,20m,G.657A2,2mm,LSZH
14130525-003 | FSLF03001 | Patch Cord,LC/UPC,FC/UPC,Single-mode,30m,G.657A2,2mm,LSZH
14130679 | FSSL00501 | Patch Cord,LC/UPC,SC/UPC,Single-mode,5m,G.657A2,2mm
14130681 | FSSL01501 | Patch Cord,LC/UPC,SC/UPC,Single-mode,15m,G.657A2,2mm
14130685 | FSSL02001 | Patch Cord,LC/UPC,SC/UPC,Single-mode,20m,G.657A2,2mm
14130973 | FSSL02500 | Patch Cord,LC/UPC,SC/UPC,Single-mode,25m,G.657A2,2mm
14130682 | FSSL03001 | Patch Cord,LC/UPC,SC/UPC,Single-mode,30m,G.657A2,2mm
14130679-002 | FSLS04001 | Patch Cord,LC/UPC,SC/UPC,Single-mode,35m,G.657A2,2mm
14130679-003 | FSLS01002 | Patch Cord,LC/UPC,SC/UPC,Single-mode,40m,G.657A2,2mm
14130683 | FSSL05001 | Patch Cord,LC/UPC,SC/UPC,Single-mode,50m,G.657A2,2mm,LSZH
14130600-001 | FSLS01502 | Patch Cord,LC/UPC,SC/UPC,Single-mode,10m,G.657A2,2mm,LSZH
14130600-002 | FSLS01501 | Patch Cord,LC/UPC,SC/UPC,Single-mode,15m,G.657A2,2mm,LSZH
14130600 | LC-SC-S-20,LSZH | Patch Cord,LC/UPC,SC/UPC,Single-mode,20m,G.657A2,2mm,LSZH
Subassembly ¦ Accessories,Single Cord Multimode Fiber Standard Module,LC/PC-LC/PC-A1b-PVC
14130335 | SS-OP-D-LC-M-1 | Patch Cord,LC/PC,LC/PC,Multi-mode,1m,A1b,2mm
14130297 | SS-OP-D-LC-M-3 | Patch cord-LC/PC-LC/PC-Multimode-A1b-2mm-3m-PVC-Orange
14130222 | SS-OP-D-LC-M-10 | Patch cord-LC/PC-LC/PC-Multimode-A1b-2mm-10m-PVC-Orange
14130295 | SS-OP-D-LC-M-20 | Patch cord-LC/PC-LC/PC-Multimode-A1b-2mm-20m-PVC-Orange
14130294 | SS-OP-D-LC-M-30 | Patch cord-LC/PC-LC/PC-Multimode-A1b-2mm-30m-PVC-Orange
Subassembly ¦ Accessories,Single Cord Multimode Fiber Standard Module,LC/PC-FC/PC-A1b-PVC
14130221 | SS-OP-LC-FC-M-10 | Patch cord-FC/PC-LC/PC-Multimode-A1b-2mm-10m-PVC-Orange
14130273 | SS-OP-LC-FC-M-20 | Patch cord-FC/PC-LC/PC-Multimode-A1b-2mm-20m-PVC-Orange
14130277 | SS-OP-LC-FC-M-30 | Patch cord-FC/PC-LC/PC-Multimode-A1b-2mm-30m-PVC-Orange
14130308 | SS-OP-LC-FC-M-50 | Patch Cord,LC/PC,FC/PC,Multi-mode,50m,A1b,2mm
Subassembly ¦ Accessories,Single Cord Multimode Fiber Standard Module,LC/PC-SC/PC-A1b-PVC
14130223 | SS-OP-LC-SC-M-10 | Patch cord-LC/PC-SC/PC-Multimode-A1b-2mm-10m-PVC-Orange
14130279 | SS-OP-LC-SC-M-20 | Patch cord-LC/PC-SC/PC-Multimode-A1b-2mm-20m-PVC-Orange
14130275 | SS-OP-LC-SC-M-30 | Patch Cord,LC/PC,SC/PC,Multi-mode,30m,A1b,2mm
14130311 | SS-OP-LC-SC-M-50 | Patch Cord,LC/PC,SC/PC,Multi-mode,50m,A1b,2mm
Subassembly ¦ Accessories,Single Cord Single-mode Fiber Standard Module,LSH-SC/FC/LSH-G.652D
14130429 | FSHS02000 | Patch Cord,LSH/APC,SC/UPC,Single-mode,20m,G.652D,3mm,LSZH
14130426 | FLSHLSH02 | Patch Cord,LSH/APC,LSH/APC,Single-mode,20m,G.652D,3mm,LSZH
14130355 | SS-OP-LSH-FC-S-20 | Patch Cord,LSH/APC ,FC/UPC,Single-mode,20m,G.652D,3mm,LSZH,Low Loss
14130363 | SS-OP-LSH-LSH-S-3 | Patch Cord,LSH/APC,LSH/APC,Single-mode,3m,G.652D,3mm,LSZH,High Power
Subassembly ¦ Accessories,Single Cord Single-mode Fiber Standard Module,LC/UPC-LSH/APC-G.652D-LSZH
14130377-001 | SS-OP-LSH-LC-S-3 | Patch Cord,LC/UPC,LSH/APC,Single-mode,3m,G.652D,2mm,LSZH
14130377 | SS-OP-LSH-LC-S-10 | Patch Cord,LC/UPC,LSH/APC,Single-mode,10m,G.652D,2mm,LSZH
14130377-002 | SS-OP-LSH-LC-S-15 | Patch Cord,LC/UPC,LSH/APC,Single-mode,15m,G.652D,2mm,LSZH
14130396 | SS-OP-LSH-LC-S-20 | Patch Cord,LC/UPC,LSH/APC,Single-mode,20m,G.652D,2mm,LSZH
Subassembly ¦ Accessories, MPO 24 cores Multimode Fiber Standard Module, MPO/PC-MPO/PC-OM3-LSZH
14131208 | F010MPO00 | Patch Cord,MPO/PC,MPO/PC,Multimode(OM,Bending Insensitive,GJFH 24A1a(LSZH),5.6mm,10m,24cores
14131209 | F030MPO00 | Patch Cord,MPO/PC,MPO/PC,Multimode(OM,Bending Insensitive,GJFH 24A1a(LSZH),5.6mm,30m,24cores
14131211 | F100MPO00 | Patch Cord,MPO/PC,MPO/PC,Multimode(OM3,bending insensitive),5.6mm,100m,24 cores,LSZH
MPO 8 cores Fiber Standard Module
14130823-001 | FMMM01501 | Optical Cable Parts,MPO/PC,MPO/PC,Multimode(OM3,Bending Insensitive),15m,8 Cores,0m/0m,GJFH 8A1a,3.5mm,LSZH,42mm Short MPO,Indoor
14130823-002 | FMMM03001 | Optical Cable Parts,MPO/PC,MPO/PC,Multimode(OM3,Bending Insensitive),30m,8 Cores,0m/0m,GJFH 8A1a,3.5mm,LSZH,42mm Short MPO,Indoor
14130823-003 | FMMM10001 | Optical Cable Parts,MPO/PC,MPO/PC,Multimode(OM3,Bending Insensitive),100m,8 Cores,0m/0m,GJFH 8A1a,3.5mm,LSZH,42mm Short MPO,Indoor
14132537-005 | SS-OP-MPO12-4*DLC-M-15B | Optical Cable Parts,MPO/PC,4DLC/PC,Multi-mode,15m,8 cores,0/1m,GJFH-8A1a.2(OM3),3.5mm,2mm,LSZH,43mm Short MPO,Bending insensitive
14132537-006 | SS-OP-MPO12-4*DLC-M-30 | Optical Cable Parts,MPO/PC,4DLC/PC,MULTI-MODE,30m,8 CORES,0/1m,GJFH-8A1A.2(OM3),3.5MM,2mm,LSZH,43MM SHORT MPO,BENDING INSENSITIVE
14132537-001 | SS-OP-MPO12-4*DLC-M-100 | Optical Cable Parts,MPO/PC,4DLC/PC,Multi-mode,100m,8 cores,0/1m,GJFH-8A1a.2(OM3),3.5mm,2mm,LSZH,43mm Short MPO,Bending insensitive
14132538 | MPO12-4DLC-SM-15 | Optical Cable Assembly,MPO/APC,4*DLC/PC,Singlemode,GJFH 8G.657A2(LSZH),15m,3.5mm,8 Cores,0m/1m,2mm
14134759 | MPO12-MPO12-SM-10 | Optical Cable Parts,MPO/APC,MPO/APC,Single mode,10m,8 cores,GJFH-8G.657A2,3.5mm,LSZH,43mm Short MPO,Bending insensitive
Fixed Attenuator
45030029 | SS-OP-ATN-LC-2 | Fixed Optical Attenuator,1260nm~1620nm-2dB-LC/PC-45dB
45030040 | SS-OP-ATN-LC-3 | Fixed Optical Attenuator,1260nm~1620nm,3dB-LC/PC,45dB
45030021 | SS-OP-ATN-LC-5 | Fixed Optical Attenuator,1260nm~1620nm-5dB-LC/PC-45dB
45030036 | SS-OP-ATN-LC-7 | Fixed Optical Attenuator,1260nm~1620nm,7dB,LC/PC,45dB
45030022 | SS-OP-ATN-LC-10 | Fixed Optical Attenuator,1260nm~1620nm-10dB-LC/PC-45dB
45030023 | SS-OP-ATN-LC-15 | Fixed Optical Attenuator,1260nm~1620nm-15dB-LC/PC-45dB
Installation Accessories
25050014 | C0000FE00 | Twisted-Pair Cable,100ohm,Category 5e UTP,0.51mm,24AWG,8Cores,PANTONE 430U,Use with Plug:14080082
25050057 | E-Cat.5e-FTP-4pairs | Twisted-Pair Cable,100ohm,Category 5e,FTP,0.52mm,24AWG,8Cores,4Pairs,PANTONE 430U,Use with Plug:14080097
02233AHJ | TNGACCES03 | M12 subrack accessory materials for installation in the third party cabinet
02232FLF | TNGACCES02 | M24 subrack accessory materials for installation in the third party cabinet
Tools Kit
2210187 | TOOLS | Auxiliary Tool,SDH assembly kitting box-not include electric tool,NULL,only applied w/i Huawei Internal,w/ config
2210181 | TOOLS | Auxiliary Tool,Installation Kit of SDH (20 pcs)/ With Configuration List/Russia type plug,NULL,only applied w/i Huawei Internal
2210228 | E0TOOLS04 | Auxiliary Tool,NULL
Software Charge
Basic Software Package & Software Update Fee
88036CED | TNGS0000SW12 | OptiXtrans E9624-Basic Software Package,V100R019 (Per Subrack)
88036CEF | TMFS0000SW05 | OptiXtrans E9612-Basic Software Package,V100R019 (Per Subrack)
88036KBQ | TMES0000SW03 | OptiXtrans E9605-Basic Software Package,V100R019 (Per Subrack)
ASON License
88031RBF | TNVS00ASON01 | WDM Frame Product ASON Basic Function License
82600374 | NDSS00AS0N01 | ASON Service License Charge(per Equivalent VC4)-Transmission Network
82600454 | NSDS00ASON01 | WDM,ASON Service Fee for Each Port( &lt; =2.5G)
82600455 | NSDS00ASON02 | WDM,ASON Service Fee for Each Port(2.5~10G)
82600456 | NSDS00ASON03 | WDM,ASON Service Fee for Each Port(40G)
82600457 | NSDS00ASON04 | WDM,ASON Service Fee for Each Port(100G)
82601361 | NSDS00ASON05 | WDM,ASON Service Fee for Each Port(200G)
82601362 | NSDS00ASON06 | WDM,ASON Service Fee for Each Port(400G)
Packet License
88031XCQ | TNVS0100GE01 | Packet Service License(Per 100GE Port)
88031LPF | TN5S0010GE01 | Packet Service License(Per 10GE Port)
88031LPH | TN5S0000GE01 | Packet Service License(Per GE Port)
Port OSNR Monitor Function Fee
82600685 | NDSS00ODMS01 | Optical Doctor Management System Software Fee Per Port(10G)
82600687 | NDSS00ODMS03 | Optical Doctor Management System Software Fee Per Port(100G)
82600923 | NDSS00ODMS04 | Optical Doctor Management System Software Fee Per Port(200G)
82600924 | NDSS00ODMS05 | Optical Doctor Management System Software Fee Per Port(400G)
Specified Service License
88036CWA | TNGSOTNFUN03 | SDH encapsulation capability (per board)
1588V2 Feature License
82600638 | NDSS1588V201 | OptiX OTN Platform,IEEE 1588V2 Function Fee
Fiber Doctor Management System Software Fee
82600873 | NSDS0FDMSF01 | Fiber Doctor Management System Software Fee
photon integration PID board Software Package
88032YNY | TNVSPID10G02 | photon integration Capacity Fee(10G)
88033DUY | TNVSPIDCEF01 | Per 100G Capacity Expansion Fee(PID)
line side function license per port
82601046 | NSDS0LSFPP01 | Line Side Function Fee Per Port
Encryption Function Software License
82601043 | NSDS00ENCT01 | Encryption Function Software Fee (per board)
SDH Encapsulation Capability Fee
88036CWC | TNGSSDH100G02 | Line Card SDH encapsulation capability (per board)
Customization Fee
82601551 | LNSDAFCR01 | Additional fee for customization requirements of transport cabinets
Power System
02233BGU | TN1W000UPM03 | ETP48200 AC/HVDC Power Supply & Accessories
02233BGV | TN1W000UPM04 | ETP4860 AC/HVDC Power Supply & Accessories
4152942 | CPWR01011 | Power Cable,10m,10mm^2,BPC1,H07Z-K-10^2BL+H07Z-K-10^2B,2*T10^2W-I,LSZH
4152943 | CPWR01012 | Power Cable,10m,10mm^2,2*OT10-6,H07Z-K-10^2BL+H07Z-K-10^2B,2*T10^2W-I,LSZH