## Sheet1
Cabinet
02353CFX | T300-CAB-48200-O1 | F01T300 Pure Optical Configuration Assembly Cabinet(FIBER112(Max192)SC/APC,Heat Exchanger,19",ETP48200,220V,1350H*850W*450D)
02353CGC | T300-CAB-48200-O2 | F01T300 Pure Optical Configuration Assembly Cabinet(FIBER336,LC/PC,Heat Exchanger,19",ETP48200,220V,1350H*850W*450D)
Main Equipment
Frame
02352GFB | H90Z5BPMB01 | IEC Service Shelf, 6 fan
Board
Main Control Board Module
03033GFN | H903MPLAE | Main Processing Board MPLAE
GPIO Board Module
03025KFC | H902CIUA | Combo Interface Transfer Board
PON Access Board Module
02312SQN | H902GPHFE01 | 16-port GPON OLT Interface Board,With Type B Single/Dual homing Function(including Class B+ SFP Optical Module)
02312SQP | H902GPHFE02 | 16-port GPON OLT Interface Board,With Type B Single/Dual homing Function(including Class C+ SFP Optical Module)
02312SQQ | H902GPHFE03 | 16-port GPON OLT Interface Board,With Type B Single/Dual homing Function(including Class C++ SFP Optical Module)
Multifunctional Convergence & Other Access Board Module
03025KFB | H902NXED01 | 8-port Enhanced 10GE Uplink Interface Board
03033DPC | H902OXHD | 8-port Advanced 10GE Optical Interface Board
SFP
GE Single Channel Two-fiber Bidirectional Optical Module
34060473 | eSFP-1310nm-1000Base-Lx SM | Optical transceiver,eSFP,1310nm,1.25Gb/s,-9~-3dBm,-20dBm,LC,Single Mode,10km
34060513 | OGSME4000 | Optical Transceiver,eSFP,1550nm,1.25Gb/s,-5dBm,0dBm,-22dBm,LC,SM,40km
34060360 | eSFP-1550nm-1000Base-Zx/FC100 | Optical Transceiver,eSFP,1550nm,1.25Gb/s,-2~5dBm,-23dBm,LC,SM,80km
S4016954 | OSG040002 | Optical Transceiver(eSFP,1310nm,1.25Gb/s,-5~0dBm,-23dBm,LC,SM,40km)
GE Single Channel One-fiber Bidirectional Optical Module
34060470 | SFP-GE-LX-SM1310-BIDI | BiDi Transceiver,eSFP,Tx1310nm/Rx1490nm,1.25Gb/s,-9dBm,-3dBm,-19.5dBm,LC,SM,10km
34060475 | SFP-GE-LX-SM1490-BIDI | BiDi Transceiver,eSFP,Tx1490nm/Rx1310nm,1.25Gb/s,-9dBm,-3dBm,-19.5dBm,LC,SM,10km
34060539 | OGEBIDI41 | Optical Transceiver,eSFP,1310nm(Tx)/1490nm(Rx),1.25Gb/s,-2dBm,3dBm,-23dBm,LC,SM,40km
34060540 | OGEBIDI40 | Optical Transceiver,eSFP,1490nm(Tx)/1310nm(Rx),1.25Gb/s,-2dBm,3dBm,-23dBm,LC,SM,40km
GE Double Channels One-fiber Bidirectional Optical Module
34060803 | OSG010005 | Integrated Optical Transmitting and Receiving Module,CSFP,Transmitting:1490nm,Receiving:1310nm,1.25Gb/s,-9.0dBm,-3.0dBm,-24dBm,LC,GE/FE autonegotiation
34060805 | OSG010006 | BiDi Transceiver,CSFP,Tx1490/Rx1310nm,125M~1.25Gbps,-9dBm,-3dBm,-23dBm,LC,SM,10km
GE Electric Module
S4015819 | SFP-1000BaseT | 1000BASE-T (RJ45) SFP Electrical Module,Auto Negotiate,100m
10GE Optical Module(SFP+)
34060495 | OSX001001 | Optical transceiver,SFP+,1310nm,10Gb/s,-8.2~0.5dBm,-12.6dBm,LC,SM,10km
34060518 | OSX040N00 | Optical transceiver,SFP+,1550nm,9.95~11.1Gb/s,-4.7~4dBm,-14.1dBm,LC,SM,40km
34060672 | OSX080N00 | Optical Transceiver,SFP+,1550,9.953~10.3125Gb/s,0dBm,4dBm,-24dBm,LC,SMF,80km
10GE One-fiber Bidirectional Optical Module
34060544-004 | OSX010I01 | BiDi Transceiver-SFP+-1270nm(Tx)/1330nm(Rx)-2.5~11.3Gb/s--8.2dBm-0.5dBm--14.4dBm-LC-SM-10km--40~85degc
34060546-004 | OSX010I02 | BiDi Transceiver-SFP+-1330nm(Tx)/1270nm(Rx)-2.5~11.3Gb/s--8.2dBm-0.5dBm--14.4dBm-LC-SM-10km--40~85degc
34060918 | OSX040B03 | BiDi Transceiver,SFP+,TX 1270nm/RX 1330nm,9.95~10.3Gb/s,0dBm,5dBm,-18dBm,LC,SM,40km
34060917 | OSX040B02 | BiDi Transceiver,SFP+,TX 1330nm/RX 1270nm,9.95~10.3Gb/s,0dBm,5dBm,-18dBm,LC,SM,40km
FE Single Channel One-fiber Bidirectional Optical Module
34060364 | SFP-FE-LX-SM1550-BIDI | BiDi transceiver,eSFP,Tx1550nm/Rx1310nm,155M,-15dBm,-8dBm,-32dBm,LC/PC,SM,15km
10GE Color Optical Transceiver Module
34060686 | OSX070001 | Optical Transceiver-SFP+-1511nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
34060687 | OSX070002 | Optical Transceiver-SFP+-1471nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
34060688 | OSX070003 | Optical Transceiver-SFP+-1491nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
34060689 | OSX070004 | Optical Transceiver-SFP+-1531nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
34060690 | OSX070005 | Optical Transceiver-SFP+-1551nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
34060691 | OSX070006 | Optical Transceiver-SFP+-1571nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
34060692 | OSX070007 | Optical Transceiver-SFP+-1591nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
34060693 | OSX070008 | Optical Transceiver-SFP+-1611nm-9.95~11.1Gb/s-0dBm-4dBm--23dBm-LC-SM-70km
Power & Battery
03025KET | H902PILA | Connect Power Board
ETP48200-Power Function Module
1074710 | ETP48200-B2A1 | Embedded Power, ETP48200, Three-Phase or Single-Phase or Dual-Live Wire or HVDC, 200A, Front Cabling, Width 19inch, Height 2U
02312QJD | SMU11C-01 | Stick power monitor module
02312QKP | SMU11B-01 | power monitor module
02312QJQ | R4830G1-0201 | R4830G1-02 2000W High Efficiency Rectifier
02312QJR | R4815G1-0201 | R4815G1-02 1U1000W High Efficiency Rectifier
ETP Series circuit breaker
16021480 | MCB80V100A01 | Quick Connect Circuit Breaker, 80V, 100A, 1P
16021479 | MCB80V80A01 | Quick Connect Circuit Breaker, 80V, 80A, 1P
16021473 | MCB80V63A01 | Quick Connect Circuit Breaker, 80V, 63A, 1P
16021478 | MCB80V40A01 | Quick Connect Circuit Breaker, 80V, 40A, 1P
16021519 | MCB80V32A01 | Quick Connect Circuit Breaker, 80V, 32A, 1P
16021477 | MCB80V20A01 | Quick Connect Circuit Breaker, 80V, 20A, 1P
02312QJE | MUE03A-01 | MUE03A Monitor interface module
21140631 | EN3KSPANEL04 | High Efficiency Rectifier panel
24022423 | BND12V50AH02 | Rechargeable Battery, VRLA Battery(Front Terminal), 48V, 50Ah, 12V Monobloc, 105mm(W) * 390mm(D) * 227mm(H), 4 PCS, Narada 6-GFM-50F
24022433 | BLH12V50AH01 | Rechargeable Battery, VRLA Battery(Front Terminal),48V,50Ah,12V Monobloc,105mm(W)*390mm(D)*200mm(H), 4 PCS,LEOCH FT12-50
24022416 | BSD12V50AH01 | Rechargeable Battery, VRLA Battery(Front Terminal), 48V, 50Ah, 12V Monobloc, 105mm(W) * 390mm(D) * 200mm(H), 4 PCS, Shuangdeng Type 4th 6-FMX-50
24022418 | BSD12V90AH01 | Rechargeable Battery, VRLA Battery (Gel, Front Terminal), 48V, 90Ah, 12V Monobloc, 110mm(W) * 395mm(D) * 286mm(H), 4 PCS, Shuangdeng 6-XFMJ-90
24023007 | FTG12-901906 | Rechargeable Battery, VRLA Battery(Gel, Front Terminal), 48V, 90Ah, 12V Monobloc, 110mm(W)*394mm(D)*285mm(H), 4 PCS, Leoch FTG12-90
24022934 | BSD12V100AH03 | Rechargeable Battery, VRLA Battery(Front Terminal), 48V, 100Ah, 12V Monobloc, 110mm(W) * 395mm(D) * 286mm(H), 4 PCS, Shuangdeng Type 4th 6-FMX-100B
24022434 | BLH12V100AH01 | Rechargeable Battery, VRLA Battery(Front Terminal),48V,100Ah,12V Monobloc,110mm(W)*394mm(D)*286mm(H), 4 PCS,LEOCH FT12-100
24022424 | BND12V100AH02 | Rechargeable Battery, VRLA Battery(Front Terminal), 48V, 100Ah, 12V Monobloc, 105mm(W) * 390mm(D) * 287mm(H), 4 PCS, Narada 12NDF100
1075110 | ESM-48100B1 | Energy Storage Module, ESM-48100B1, 48V, 100Ah, 442mm (W) * 396mm (D) * 130mm (H)
02351NKK | TCB12V100AH01A | Energy Storage Unit, TCB-B Series, 48V, 100Ah, 12V Monobloc, 110mm(W) * 395mm(D) * 286mm(H), 4PCS
02351VDA | TCB12V100AH02 | Energy Storage Unit, TCB-C Series, 48V, 100Ah, 12V Monobloc, 110mm(W) * 400mm(D) * 286mm(H), 4PCS
Cabinet Enhancement Assembly
02350GNS | H80Z19T500 | Components for Smoke Detector
33010290 | ELILSEN01 | Liquid Level Sensor,D18*64mm,Cable Length 2700mm,Chinese datasheet,with H4(2.5)terminal
02350MMJ | H80Z38T500 | Components for Temperature&Humidity Sensor(Including Cable)
02353CEC | SSR-HUM-T500 | Components for Temperature&Humidity Sensor(Including Cable)
02353CED | MON-T500 | Monitoring Box Component-EMU03A for F01T500
02353CEN | ELOCK-T300 | T300 E-LOCK(Including Cable)
02353GHG | HEAT-T300 | Heating box assembly module (Include cable)
02350GGL | H80Z12T500 | 100mA RCD Assembly Components
21242822 | ANTHEFT01 | Anti-theft Accessory
Installation Material
Installation Material(Delivery after Assembly)
ODF
2353383 | H83Z12ODF01 | 12-Core ODF Assembly Components(1U, 19", Including 4PCS FC-FC Adapter)
02350AML | H80Z3F01S200 | 12-Core ODF Unit(for Pure Optical Configuration, including 12PCS SC/APC-SC/APC Optical Adapters)
02351JBS | AUX-HIGH-FIBER | T300 High Density ODF Bracket Components(Max. 28*12-Core ODF)
02351JBT | ODF-HIGH-12 | T300 High Density ODF Components(Pure Optical Configuration, 12-Core LC/PC)
14300004 | F00SCSC12 | Optical adapter-SC/APC-SC/APC-Green-Shell:Plastic-Sleeve:Zirconia-Square
02353FDU | ODF-T300-12CORE | 12-Core ODF Unit(for Pure Optical Configuration, including 12PCS SC/APC-SC/APC Optical Adapters)
Blank Panel
21138384 | H80XBPMPLB02 | Air Deflector Panel for Main Control Board Slot (Shielded)
21138385 | H80XBP0YWB01 | Air Deflector Panel for Service Board Slot (Shielded)
21138396 | H80XBPGPIO01 | Blank Panel for GPIO Slot (Shielded)
Purchased Module
02350GJX | H80Z14T500 | Components for Socket(Equipment Compartment,Standard of Europe,220V)
02350HJG | H80Z31T500 | Components for Socket(Equipment Compartment,Standard of Europe,110V)
02350GKB | H80Z17T500 | Components for Socket(Equipment Compartment,for Common,220V)
02350HJK | H80Z34T500 | Components for Socket(Equipment Compartment,for Common,110V)
Material used for Installing Main Equipment
02353CHA | AUX-5800-X7-48200 | MA5800-X7 Assembly Components(for Cabinet with ETP48200)
02353FER | Li-ion-T300-4860 | Li-ion Battery Assembly Components (for Medium Capacity-ETP4860 Cabinet)
02353FES | BAT-T300-4860 | Battery Assembly Components (for Medium Capacity-ETP4860 Cabinet)
Installation Material(Direct Shipment)
Fiber Suite,uniSite,External Fiber Cable Suite
14133696 | SCAPC-SCAPC-S-3A | Patch Cord,SC/APC,SC/APC,Single Mode,G.657A2,2mm,2m,LSZH
14133699 | SCAPC-S-1B | Patch Cord,SC/APC,Single Mode,G.652D,0.9mm,1m,LSZH
14133698 | SCUPC-SCAPC-S-3A | Patch Cord,SC/UPC,SC/APC,Single Mode,G.657A2,2mm,2m,LSZH
14133698-001 | SCUPC-SCAPC-S-3B | Patch Cord,SC/UPC,SC/APC,Single Mode,G.657A2,2mm,3m,LSZH
14132592 | LC-UPC-S-1 | Patch Cord,LC/UPC-/,Single mode,G.652D,0.9mm,1m,LSZH,ODN
14130990 | FSLL00303 | Patch Cord,LC/UPC,LC/UPC,Single mode,G.657B3,1.6mm,3m,LSZH-30mm Short LC
14130881 | LCUPC-SCAPC-S-3 | Patch Cord,LC/UPC,SC/APC,Single-mode,3m,G.657A2,2mm,LSZH
14130679 | FSSL00501 | Patch Cord,LC/UPC,SC/UPC,Single-mode,5m,G.657A2,2mm
14300001 | F2LC2LC00 | Optical adapter-2LC/PC-2LC/PC-Blue-Shell:Plastic-Sleeve:Zirconia-Square-SC packing
14300004 | F00SCSC12 | Optical adapter-SC/APC-SC/APC-Green-Shell:Plastic-Sleeve:Zirconia-Square
28050001 | ESD-Proventive wrist strap | Wrist Strap
Documentation
31189820 | H90IR18DOC02E | SmartAX EA5800 Multi-service Access Module Product Documentation
31189954 | H90IR18DOC12E | SmartAX EA5800 Multi-service Access Module Product Documentation
31180AUQ | H90IR19DOC23 | Electronic Documentation
Software Charges (Software&License)
88032SXB | H80S0IPV6022 | IPV6 Function License , Based on per Host
88032SXA | H80S0MPLS02 | MPLS Function License, Based on per host
88034AMT | H80S0VANE01 | Per Virtual Access NE License, Based on per Slice
88034HBN | H80S0GRE01 | GRE Function License , Based on per Tunnel
88034HEA | H80S0VxLAN01 | VxLAN Resource License , Based on VNI Granularity
88034QFD | H80S0TYPEB02 | Type B Dual homing Function License, based on per host
88032TUD | H80S00L3FS02 | L3 Function License, based on per host
88032TUE | H80S000ONT09 | ONT Access License, Based on Per ONT
88033LEM | H80S000ONT10 | 10G GPON ONT Access License, Based on Per ONT
88032TUF | H80S00GPON09 | GPON Port License,Based on per GPON Port
88032TUG | H80S010GPON12 | 10G PON Port License,Based on per 10G PON Port
88032TUH | H80S10GEAS02 | 10GE Port License,Based on per 10GE Port
88032TUJ | H80S00FEAS02 | GE Port License,Based on per GE Port
88034HFS | H90MPLAE | MPLAE System Software Package